March 1, 2004

Mr. John Moore

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: P0265721

CNS Investments Corp-Slidell

Dear Mr. Moore

We are sending you the revised Sprinkler Plan for this job. Jefferson Sprinkler has changed the direction of lines on the first floor to run opposite the bar joist. They have calculated the first floor system to reflect these changes. There are no changes on the second floor. Please see the enclosed information.

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

