September 8, 2003

Mr. Robert Miller

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: PO261655

       Hyundai Dealership

       North Hwy 190

       Covington, La.

Dear Mr. Miller

Per your review letter, I have revised the plans to show the stairs exiting from the rear of the bldg. to get our 100 ft minimum distance. Please see the attached DWG. For verification. 

Thank you for your time. Please call me with any question you may have.

Chuck Dammon

VP/Project Manager

