       


 STRUCTURAL INSPECTION

May 19, 2003

Type: Residential

For: Rocky & Shirley George

Re:   Lot 7 Plimsol

        102 Plimsol Court

        Slidell, La. 

History: 

The home is approximately 10 years old. It is a wood frame with brick and vinyl siding on pillars. The Appraiser had noted an apparent settlement in the living room floor in their report. The Purchasers wanted an engineer’s opinion on this. 

Findings:

It was noted on the rear right side of the living room floor that it sloped downward and to the right rear corner of the living room. There were no cracks in the interior gypsum board, doors, windows etc., and the windows were operable. There also had been no recent work on the structure. We did find that the house has normal expansion and contraction due to weather changes.

Conclusion:

It is my professional opinion that the house is in good condition.

Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

