554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

July 30, 2024

Jack Tolley

228 St Mary Ct

Abita Springs, La. 70420

Construction:

One-story home partially slab on grade & partially on wood frame.  This house was constructed on a sloped property where a chain wall was used to transition between slab on grade to wood frame.  There is a brick façade around the house.

Scope:

This inspection is limited to a visual inspection of the foundation where the steps begin outside on the southeast side the house.  No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to perform an inspection of the referenced home due the homeowner having to make multiple repairs to the side of the house next to the stairs.

Findings:

Upon inspection, it was visibly noted that the concrete next to the top step has been repaired and has started to fail again.  The location of the concrete having issues is located at the connection between the slab on grade and the wood frame connection.  During the construction or during a previous repair one or more of the weep holes at the base of the brick façade has been closed.  Typical construction is to put a space between the brick façade and the structure to allow for moisture to fall to the bottom ledge on the foundation; weep holes are installed to let this moisture escape.

This house does not use gutters and rainfall hits the sidewalk next to the house, on this side of the house.  There are stains and growth on the foundation where the water appears to have collected.  The connection between the sidewalk and the foundation appears to have been caulked in the past but needs to be repaired.

Conclusion:

Rainfall from the roof falls on the sidewalk on the southeast side of the house and ponds in the area where the sidewalk abuts the foundation.  This water then seeps between the sidewalk and foundation and down to the top step where it meets with a solid brick chain wall is absorbed into the concrete.     Also, any rainwater that was absorbed into the brick façade has nowhere to go since one or more weep holes have been covered.

Once moisture has been absorbed into the concrete, then expansion and contraction weaken the concrete and chips start falling off.  This area where the concrete has chipped off is not a structural concern.

Recommendation:

- Install gutters and downspouts to move rainwater away from the house foundation.

- Install a long-term durable moisture resistant expansion joint material between the sidewalk and the house.

- Repair the cracked concrete at the top step using non-shrinking grout.

- Remove the concrete that was placed into the brick façade weep hole(s).

Sincerely,

Brian Mistich, P.E.

See attachments: