554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

April 23, 2026

Gaston B Mugnier

505 West 5th Ave.

Covington, La. 70433

Construction:

Two-story, wood frame, wood veneer, wood flooring, with a composition shingle roof on a concrete foundation.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the referenced home due to hurricane damage from IDA in 2016.

Findings:

Upon inspection, the rear of the home was damaged from a fallen tree that collapsed the roof, wall framing and floor framing.

Conclusion:

It is my professional opinion that this home is repairable and will be in good condition once all of the 	repairs are completed. When work is being accomplished to rebuild the structure, fastenings and nail 	patterns shall meet the International Residential Code 2021 requirements for that work.

Sincerely,

Brian Mistich, P.E.