Form RD 1924-2



UNITED STATES DEPARTMENT OF AGRICULTURE


FORM APPROVED

(Rev. 7-99)


U.S. DEPARTMENT OF HOUSING AND URBAN DEVELOPMENT-FEDERAL
              OMB NO. 0575-0042

HOUSING ADMINISTRATION

U.S. DEPARTMENT OF VETERANS AFFAIRS

ٱ  Proposed Construction 
        DESCRIPTION OF MATERIALS

No.____________

            (To be inserted by Agency)

ٱ  Under Construction

Property Address: William Thom/113 E.Queens 
City 
Slidell


State 
Louisiana


Mortgagor or Sponsor
St. Tammany Parish Govt.



  Mandeville, Louisiana





(Name)





(Address)

Contractor or Builder


















(Name)





(Address)

INSTRUCTIONS

1. For additional information on how this form is to be submitted, number of copies, etc., see the instructions applicable to the FHA Application for Mortgage Insurance, VA Request for Determination of Reasonable Value or other, as the case may be.

2. Describe all materials and equipment to be used, whether or not shown on the drawings, by marking an X in each appropriate check-box and entering the information called for in each space. If space is inadequate, enter ”See misc,” and describe under item 27 or on an attached sheet: THE USE OF PAINT CONTAINING MORE THAN THE PERCENT OF LEAD BY WEIGHT PERMITTED BY LAW IS PROHIBITED.

3. Work not specifically described or shown will not be considered unless required, then the minimum acceptable will be assumed. Work exceeding minimum requirements cannot be considered unless specifically described.

4. Include no alternates, “or equal” phrases, or contradictory items.  (Consideration of a request for acceptance of substitute materials or equipment is not thereby precluded.)

5. Include signatures required at the end of this form.

6. The construction shall be completed in compliance with the related drawings and specifications, as amended during processing. The specifications include this Description of Materials and the applicable building code.


1.
EXCAVATION:

Bearing soil, type 
Clay Sand

2.
FOUNDATIONS:


Footings: concrete mix

Existing

; strength psi 
------
     Reinforcing

-------------

Foundation wall: material 

---------



        Reinforcing 

-------------

Interior foundation wall: material 

---------

     Party foundation wall 


-------------


Columns: material and sizes 

See Plans

       Piers: material and reinforcing 

-------------


Girders: material and sizes 

See Plans

       Sills: material 

See Plans


Basement entrance areaway 

N/A

       Window areaways 


-------------


Waterproofing 

Existing


       Footing drains 



-------------


Termite protection 

Treat New Slabs


Basementless space: ground cover

N/A
          ; insulation


    ; foundation vents 



Special foundations 





Additional information 






3.
CHIMNEYS:


Material 
Double Wall Stainless Steel
        Prefabricated (make and size) 

To fit fireplace

Flue lining: material 
----------

        Heater flue size 
-------------
 Fireplace flue size 

-------------


Vents (material and size): gas or oil heater

-------------
          ; water heater 

Yes 4”


Additional information: 



4.
FIREPLACES:


Type: ( solid fuel; ( gas-burning; ( circulator (make and size) __________________ Ash dump and clean-out ________________________


Fireplace: Facing _____________ ; lining _____Metal___________ ; hearth _____________ ; mantel ________Wood____________________


Additional information: ______Heatilator 42”                                          __________________________________________________________

5.
EXTERIOR WALLS:


Wood frame: wood grade, and species ____SYP______________________ ( Corner bracing. Building paper or felt ________Felt__________


sheathing ______OSB__________ ; thickness __1/2”__ ; width ___4’___ ; ( solid; ( space _______ ” o.c.; ( diagonal; __________


Siding_____ Hard board_________ ; grade __Const.___ ; type ________ ; size _________ ; exposure _______ ”; fastening    Mildew Resist.


Shingles 
Asphalt

; grade

  ; type
             ; size
          ; exposure
          ”; fastening 
Mildew Resist.


Stucco


; thickness    3/4
   ”; Lath

Metal



   ; weight 
           lb.


Masonry veneer 


Sills 
-----------
          Lintels 
-----------
        Base flashing 

-----------


Masonry: (  solid ( faced ( stuccoed; total wall thickness ___________ ”; facing thickness ________”; facing material _________________

Backup material _____________ ; thickness _______ ”; bonding _______________________________

Door sills 
Wood
    Window sills 
Wood

       Lintels          -------     Base flashing 
-------



Interior surfaces: dampproofing,        -------    coats of
-------
          ; furring 

-------


Additional information: 







Exterior painting: material 
Doors – (Devoe or Equal)




             ; number of coats 
3



Gable wall construction: ( same as main walls; ( other construction __________________________________________________________

6.
FLOOR FRAMING:


Joists; wood, grade, and species 
SYP
        ; other
Const. Grade  ; bridging 
yes

 ; anchors 
Hurricane


Concrete slab: ( basement floor; ( first floor; ( ground supported; ( self-supporting; mix _______________ ; thickness ________ ”,


Reinforcing
-------

; insulation

-------

; membrane

-------


Fill under slab; material 



 ; thickness 
 ”. Additional information:




7.
SUBFLOORING: (Describe underflooring for special floors under item 21.)


Material: grade and species 

3/4” T&G (Sturdy Floor)

          ; size        -------   ; type 
4x8 Sheets



Laid: ( first floor; ( second floor ( attic 
-------
 sq. ft; ( diagonal; ( right angles. Additional information: 

8.
FINISH FLOORING: (Wood only. Describe other finish flooring under item 21.)

	LOCATION
	ROOMS
	GRADE
	SPECIES
	THICKNESS
	WIDTH
	BLDG. PAPER
	FINISH

	First floor
	
	
	
	
	
	
	

	Second floor
	
	
	
	
	
	
	

	Attic floor
	Attic
	Const.
	
	5/8” Plywd
	4’
	
	


Additional information:____________________________________________________________________________________________________


According to the Paperwork Reduction Act of 1995, an agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a valid OMB control number. The valid OMB control number for this information collection is 0575-0042. The time required to complete this information collection is estimated to average 15 minutes per response, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.

HUD-FHA 2005










            RD 1924-2 (Rev. 7-99)

VA Form 26-1852

9.
PARTITION FRAMING:


Studs: wood, grade, and species 

SYP
         size and spacing
See Plans

    Other 





Additional information: 





10.
CEILING FRAMING:


Joists: wood, grade, and species 

SYP

 Other 



Bridging

SYP


Additional information: _______________See Plans____________________________________________________________________________

11.
ROOF FRAMING:


Rafters: wood, grade, and species 

See Plans

 Roof trusses (see detail): grade and species 

SYP



Additional information:


See Plans

12.
ROOFING:

Sheathing: wood, grade, and species
See Plans





; ( solid  ( spaced

          ” o.c. Roofing 

235 lbs
          ; grade 
30 yr
    ; size 

    ; type 

Asphalt Shingles



Underlay


15# Felt


; weight or thickness
 ; size

; fastening 



Built-up roofing 




    ; number of plies 
 ; surface material 






Flashing: material

Alum.


    ; gage or weight


             ; ( gravel stops; ( snow guards


Additional information: ________________________________________________________________________________________________

13.
GUTTERS AND DOWNSPOUTS:


Gutters: material
painted steel
; gage or weight
20
 ; size
6”
; shape





Downspouts: material
painted steel
; gage or weight
20
; size

; shape

             ; number




Downspouts connected to: ( Storm sewer; ( sanitary sewer; ( dry-well. ( Splash blocks: material and size 




Additional information: 




14.
LATH AND PLASTER:


Lath ( walls, ( ceilings: material _______________ ; weight or thickness __________ Plaster: coats _____ ; finish _____________________


Dry-wall ( walls, ( ceilings: material _______________ ; thickness ___________ ; finish __________________________________________


Joint treatment _______________________________________________________________________________________________________

15.
DECORATING: (Paint, wallpaper, etc.)

	ROOMS
	WALL FINISH MATERIAL AND APPLICATION
	CEILING FINISH MATERIAL AND APPLICATION

	Kitchen
	Painted Texture
	Painted Orange-Peel Texture

	Bath
	Painted Texture
	Painted Orange-Peel Texture

	Other
	Painted Texture
	Painted Orange-Peel Texture



Additional information: ________________________________________________________________________________________________


16.
INTERIOR DOORS AND TRIM:


Doors: type 

HC Pre Hung

              ; material
Raised Panel Masonite
    ; thickness
1 ¾ 



Door trim: type
Std
; material


Base: type

; material


 ; size


Finish: doors

Paint



        ; trim 




Other trim (item, type and location) 

Paint Grade




Additional information: 


17.
WINDOWS:


Windows: type 
SH
 ; make
Mayfair or Equal
      ; material 
Alum

 ; sash thickness 




Glass: grade 
Insulated

    ; ( sash weights; ( balances, type



; head flashing 




Trim: type 
Alum

 ; material 


Paint 


        ; number coats 




Weatherstripping; type 

Factory

       ; material 

Factory

Storm sash, number 




Screens: ( full; ( half; type 



 ; number

; screen cloth material





Basement windows: type
Exist
; material 

 ; screens, number 

   ; Storm sash, number 




Special windows 

Verify with Owner





Additional information: 



18.
ENTRANCES AND EXTERIOR DETAIL:


Main entrance door: material
Wood
; width        2/6 Pair     . ; thickness  1 3/4      ”; Frame: material 
Wood    ; thickness
        ”


Other entrance doors: material 
Mtl
          ; width   3/0 Pair  ; thickness   1 3/4     ”; Frame: material 
             ; thickness 
        ”


Head flashing 

N/A

             Weatherstripping: type
OK

; saddles





Screen doors: thickness 
        ”; number 
          ; screen cloth material 

         Storm doors: thickness 
             “; number 




Combination storm and screen doors: thickness       ”; number             ; screen cloth material 





Shutters: ( hinged; ( fixed. Railings 

See Plans

       , Attic louvers 






Exterior millwork: grade and species 


           Paint


             ; number coats 




Additional information: 


Allowance 




19.
CABINETS AND INTERIOR DETAIL:


Kitchen cabinets, wall units: material 
Allowance 


 ; lineal feet of shelves  See Plans; shelf width 



Base units: material 
Composite
       ; counter top 

Formica

 ; edging

Molding



Back and end splash 
Molding

       Finish of cabinets

Per Owner

; number coats 
2



Medicine cabinets: make 



           ; model 







Other cabinets and built-in furniture 






Additional information: 

Bathroom millwork allowance 

20.
STAIRS:
Treated Wood for Exterior Stairs

	STAIR
	TREADS
	RISERS
	STRINGS
	HANDRAIL
	BALUSTERS

	
	Material
	Thickness
	Material
	Thickness
	Material
	Thickness
	Material
	Thickness
	Material
	Thickness

	Basement
	
	
	
	
	
	
	
	
	
	

	Main
	SYP
	2”
	SYP
	2”
	SYP
	14”
	SYP
	Std
	SYP
	Std

	Attic
	Manufactured pull-down (fire-rated 20 min.)


Disappearing: make and model number 




Additional information:


HUD-FHA 2005

VA Form 26-1852

21.
SPECIAL FLOORS AND WAINSCOT: (Describe carpet as listed in Certified Products Directory.)

	Floors
	Location
	Material, Color, Border, Sizes, Gage, Etc.
	Threshold Material
	Wall Base Material
	Underfloor Material

	
	Kitchen
	Tile (allowance)
	
	Wood
	

	
	Bath
	Ceramic Tile (allowance)
	
	CT
	Cem. Bd.

	
	Other
	Carpet (allowance $28.00/sy)
	
	Wood
	Pad

	Wainscot
	Location
	Material, Color, Border, Sizes, Gage, Etc.
	Height
	Height Over Tub
	Height in Showers (from floor)

	
	Bath
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	



Bathroom accessories: ( Recessed; material       Chrome          ; number
       ; ( Attached; material

        ; number 




Additional information: 
  $200.00 allowance – (holders, and towel racks)


22.
PLUMBING:


	Fixture
	Number
	Location
	Make
	Mfr’s Fixture Identifiction No.
	Size
	Color

	Sink
	1
	Kitchen
	Per Owner
	Stainless Steel
	
	By Owner

	Lavatory
	4
	Bathrooms
	Per Owner
	
	
	By Owner

	Water Closet
	3
	Bathrooms
	Per Owner
	
	
	By Owner

	Bathtub
	2
	Bathrooms
	Per Owner
	
	
	By Owner

	Shower
	1
	Bathrooms
	Per Owner
	
	
	By Owner

	Stall Shower
	
	
	
	
	
	

	Laundry trays
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	



( Curtain rod ( Door ( Shower pan: material 





Water supply: ( public; ( community system: ( individual (private) system.* (Existing – Extended)


Sewage disposal: ( public; ( community system: ( individual (private) system.* (Existing - Extended)


* Show and describe individual system in complete detail in separate drawings and specifications according to requirements.


House drain (inside); ( cast iron; ( tile; ( other ___PVC_______ House sewer (outside): ( cast iron; ( tile; ( other _____PVC_____


Water piping: ( galvanized steel; ( copper tubing; ( other __________________________________ Still cocks, number _____1_______


Domestic water heater: type ___Electric____________ ; make and model _____Standard____________ ; heating capacity ___________________




           gph. 1000 rise. Storage tank: material 
Glass lined steel


    ; capacity 
80 
   gallons.


Gas service: ( utility company; ( liq. pet. gas; ( other 



 Gas piping: ( cooking; ( house heating.


Footing drains connected to: ( storm sewer; ( sanitary sewer; ( dry well. Sump pump; make and model 
N/A







    ; capacity 


          ; discharges into 







23.
HEATING


( Hot water. ( Steam. ( Vapor. ( One-pipe system. ( Two-pipe system.


( Radiators. ( Convectors. ( Baseboard radiation. Make and model____________________________________________________________


Radiant panel: ( floor; ( wall; ( ceiling. ( Panel coil: material________________________________________________________________


( Circulator. ( Return pump. Make and model ________________________________________________ ; capacity _________ gpm.


Boiler: make and model _____________________________________________ Output _____________ Btuh.; net rating ____________ Btuh.


Additional information:________________________________________________________________________________________________


Warm air: ( Gravity. ( Forced. Type of system




Duct material: supply ________________; return __________________Insulation __________ ; thickness _______ ( Outside air intake.


Furnace: make and model __________________________________________ Input ______________ Btuh.;output _______________Btuh.


Additional information:________________________________________________________________________________________________


( Space heater; ( floor furnace; ( wall heater. Input _______________ Btuh.; output _____________ Btuh.; number units________________



Make, model _________________________________ Additional information:________________________________________________


Controls: make and types_______________________________________________________________________________________________


Additional information:________________________________________________________________________________________________


Fuel: ( Coal; ( oil; ( gas; ( liq. pet. gas; ( electric; ( other _________________________ ; storage capacity__________________________



Additional information:____________________________________________________________________________________________


Firing equipment furnished separately: ( Gas burner, conversion type. ( Stoker: hopper feed (; bin feed (


Oil burner: ( pressure atomizing; ( vaporizing_________________________________________________________________________



Make and model _____________________________________________ Control______________________________________________



Additional information:____________________________________________________________________________________________


Electric heating system: type __________________________________ Input _______ watts;@ ________ volts; output ______________ Btuh.



Additional information:____________________________________________________________________________________________


Ventilating equipment: attic fan, make and model __________________________________________________ ; capacity ___________ cfm.





kitchen exhaust fan, make and model__________________________________________________________________


Other heating, ventilating, or cooling equipment_____________________________________________________________________________

24.
ELECTRIC WIRING:


Service; ( overhead; ( underground. Panel: ( fuse box; ( circuit-breaker; make 
Sq. D
          AMP’s       150      No. circuits
36


Wiring: ( conduit: ( armored cable; ( nonmetallic cable; ( knob and tube; ( other





Special outlets: ( range; ( water heater; ( other

Run circuits to all fixtures





( Doorbell. ( Chimes. Push-button locations.

       Additional information:





25.
LIGHTING FIXTURES:


Total number of fixtures 

Total allowance for fixtures, typical installations, $
Allowance





Nontypical installation







Additional information:

Owner Choice


HUD-FHA 2005

VA Form 26-1852
26.
INSULATION:

	Location
	Thickness
	Material, Type, and Method of Installation
	Vapor Barrier

	Roof
	
	
	

	Ceiling
	
	R 26    BATT
	

	Wall
	
	R 13    BATT
	

	Floor
	
	R 11  BATT (1/2” Gypsum Board - 1 hour rated at garage) 
	

	
	
	
	


27.
MISCELLANEOUS: (Describe any main dwelling materials, equipment, or construction items not shown elsewhere; or use to provide additional information where the space provided was inadequate. Always reference by item number to correspond to numbering used on this form.)





1. Mirrors - $200.00 allowance




2.  Door knobs and entrance door handles



3.  Install new platform for A/C units



4.  Garage door openers with remotes.


HARDWARE: (make, material, and finish.)

$50.00 per door

SPECIAL EQUIPMENT: (State material or make, model and quantity. Include only equipment and appliances which are acceptable by local law, custom and applicable FHA standards. Do not include items which, by established custom, are supplied by


occupant and removed when he vacates premises or chattles prohibited by law from becoming realty.)




 5 ton A/C unit with electric heat 60,000 BTU output minimum



     A/C unit to be Trane 240V, 1( service with minimum 10 seer rating


PORCHES:



All exposed wood to be treated. 


TERRACES:



Provide soil to re-grade lawn to drain to ditches.




GARAGES:



See Above


WALKS AND DRIVEWAYS:


Driveway: width  See Plans  ; base material

             ; thickness 
             “; surfacing material
Concrete

; thickness       4”


Front walk: width 
    ; material 
Conc      ; thickness      4”  . Service walk: width 

; material 
; thickness



Steps: material 


          ; treads             “; risers               “. Check walls





Slope walks





OTHER ONSITE IMPROVEMENTS:

(Specify all exterior onsite improvements not described elsewhere, including items such as unusual grading, drainage structures, retaining walls, fence, railings, and accessory structures.)


Repair ground and landscaping around foundation


LANDSCAPING, PLANTING, AND FINISH GRADING:


Topsoil _____ “ thick: ( front yard: ( side yards; ( rear yard to __See Above___ feet behind main building.


Lawns (seeded, sodded, or sprigged):. ( front yard ______ ; ( side yards ____________ ; ( rear yard                                


Planting: ( as specified and shown on drawings; ( as follows:


__________ Shade trees, deciduous. _______” caliper.


__________ Low flowering trees, deciduous. _________’ to _________’


__________ High-growing shrubs, deciduous. _________’ to _________’


__________ Medium-growing shrubs, deciduous, _________’ to _________’


__________ Low-growing shrubs, deciduous. _________’ to _________’


__________ Evergreen trees _________’ to _________’, B & B.


__________ Evergreen shrubs ________’ to _________’, B & B.


__________ Vines, 2-years ______________________________


IDENTIFICATION. This exhibit shall be identified by the signature of the builder, or sponsor, and/or the proposed mortgagor if the


latter is known at the time of application.


Date ____________________________

Signature_________________________________________________________








Signature_________________________________________________________

HUD-FHA 2005

VA Form 26-1852

1

