Dear David:

The meeting you and I had on March 3, 2003 at the Fritchie Barn was to discuss the color chart to match the new Hwy 59 barn so that all new barns will match the same color. 

Some additional items that were discussed are the following:

(A). Exterior doors of Fritchie barn did not lock properly due to the space in between the door and the jamb therefore an additional cover was installed to protect it from vandalism. Also we want to make sure that the new Hwy 59 Barn exterior doors are installed with the catch in the right position so the additional cover wont be needed.

(B). The interior paint for the new Hwy 59 Barn shall match the interior color of Fritchie barn.

(C). The exterior stairs for Fritchie Barn had to be moved to accommodate a proper landing, we want to make sure that the new Hwy 59 Barn stairs are installed to the design DWG’s dimensions. 

