June 18, 2003

Stan Polivick

City Engineer

City of Slidell

2055 Second Street

Slidell, Louisiana  70458

RE: Floyd Milliet Dance Academy

 Old Spanish Trail

 Slidell, La. 70458

 No. 800-10

Dear Mr. Polivick

In response to your letter, dated June 17, 2003, please note the following:

We are aware of the problem at this site. The drainage plan design that was approved by the City of Slidell was not followed. We have visited the site and are making some adjustments to the parking lot to help the drainage problem. By what we are proposing this we will give us 100% retention.

Remove concrete parking in the front left corner and the front entrance drive. Rebuild the front entrance to have a bumper type hump to match the elevation of the existing curb. Rebuild the curb on the front left corner entrance to match the elevation of the existing front curb. Also they will install the 4-inch orifice as per the plans.

If you have any questions or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

CKD:clh
Camellia Gardens Page 1 of 1

