IGC Construction L.L.C.

130 W. Howze Beach Road

Slidell, La. 70458

Attn: Brian Reine

RE: Sun Valley Apartment

       Slidell, La.

Brian per your request, I called the Fire Marshall (Lawrence Delaune) in Baton Rouge about this project. He stated that if we have one apartment bldg. that only one level landing (Fireman’s Landing) is required. That is because we have less than 15 Apartments. 

But now that we have three bldg.’s totaling 36 apartments, we have to provide level landings at each door. He would not sign off on installing signs on the wall that state step up. Also, he stated that he has no record of three bldg.’s being approved. He has requested that we submit the other two bldg’s for approval. 

Im writing you this letter to inform you of what is needed to be done. We will wait for your response to proceed.

Chuck Dammon

