January 14, 2004

Mr. Lawrence Delaune

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 and Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: P0255226

       Discovery Development

        Slidell, La. 70458 Joseph St.

Dear Mr. Delaune

I spoke to you this morning about the problem at this site. We had originally designed a (one) two story apartment complex measuring 31’x142’ with all one bedroom units, totaling 12 units. With this senarow we were only required to have one level landing at the door entrance. 

The contractor has now built three buildings totaling 36 apartments. Now with this many units the code requires all entrance’s to be level.

We are asking for a variance to allow a sign to be posted at all entrance doors stating that there is a step up.

Thank you for your time.

Sincerely,

Chuck Dammon/Project Manager

