January 12, 2004

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: John Cramer

Discovery Development Apartment

Slidell, La. 70458

Dear Mr. Cramer

The contractor is using UL # L528 for the Floor-Ceiling Assembly. They have started to install the furring channels, for the sheet rock to be attached to it. It was noted that they are installed wrong. Please see the attached sheets.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon/Project Manager

