December 23, 2003

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: John Cramer

Discovery Development Apartment

Slidell, La. 70458
Dear Mr. Cramer

This letter is in response to your letter dated December 18, 2003.

We are providing you a new UL listing for the Floor-Ceiling Assembly.

Please see the attached sketches.

Also we have researched the question of the interior wall rating for this job. I have spoken to Mr. Ronnie Green with the Southern Building Code. His and our conclusion is that this apartment building is considered Unprotected. Due to that it is classified as R2 Residential and is under 7000 Sq.Ft. and only 2 stories in height. Therefore the interior load-bearing wall is Type IV 

Unprotected and requires a Zero Hour Fire Resistance Rating. Tenant separation is the only requirement for this Bldg.

If you have any questions, or require any further information, please call.

Sincerely,

Chuck Dammon/Project Manager

