January 29, 2004

Mr. Jamar Gardner

Office of State Fire Marshal 

Department of Public Safety and Corrections

7919 Independence Boulevard

Baton Rouge, Louisiana 70806

RE: Lake View Square

       P0265490

Dear Mr. Gardner

We have received the plans back from your approval, Thank You. After reviewing the DWG’s with the owner and the contractor, we would like to make one more change. 

You had asked that we move the fire door into the lobby area past the elevator room. We would like to keep our original wall layout and move the elevator door to the west wall, with the Firewall around it. Also we are eliminating one door to the lobby area. Please see the attached plans. The first sketch is the original layout, the 2nd one shows your revised layout and the 3rd one is the preferred layout. We are asking for an approval of this layout.

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

