                            PRELIMINARY PUNCH LIST MEETING MINUTES

New Orleans Public School Project LA# _96127


Site Work and HVAC Installation


Date: 02/22/01  Location: NOCHC School     Time:  08:30AM


Reason for meeting: Preliminary Punch List Meeting


Attendees:

Name



Organization


Phone & Fax


Chuck Dammon
       Dammon Engineering, Inc,
649-5832/641-5950


Bob Bindewald              Industrial & Mechanical, Inc.     733-9141/733-9144

            Bruce Levey                   Facility Planning                            942-3517/942-3516

            Boiler Room:

A. The popoff valve located on the side of the boilers are leaking water on the floor causing a safety hazard. These must be drained directly into the sump pump located in the corner of the bldg.

B. All piping that has insulation on it must be sealed at the ends to insure proper insulation value.

C. All insulated piping must have arrows showing direction of flow and the description of what it is ( i.e.: cold water or hot water).

D. The system must be balanced as stated in the dwg’s  

                                                            Date______

             Chuck Dammon/Project Manager

