1. We didn’t receive any shop drawings for approval from the General Contractor for approval from any masonry sub or metal roof trusses mfg. or a metal bldg. mfg., plumbing, mechanical or electrical equipment.

2. The sections shown are for the two-foot overhangs only no sections are shown for the five-foot overhang. (any confusion would have been eliminated if we would have received shop drawings for this project)

3. The drawings designed and furnished by paragon show five sets of windows. Subways layout asked for only three windows.

4. Couldn’t find what he was talking about. I checked all the, F, M, P and E sheets. All the doors line up.

5. All the sections show vinyl-vented soffit.

6. The drawings designed and furnished by paragon show the ramp. This is what they wanted. If it didn’t fit we should have been asked to redesign their plan.

7. The layout for this store was designed by paragon. We didn’t show any details for there equipment.

The only contact we had with the contractor was when he called asking about the lighting calculations. The other time of contact was when you called asking if we had approved some wallpaper.

Also we didn’t sign a certificate of completion for the fire Marshall.

As far as IM concerned this bldg. is not approved by us.

