Twin Oaks

1) Bldg. #5

2) Fire-caulk all pipes and wire penetrations through wood.

3) Fill tub boxes under 2nd & 3rd floors.

4) Fire dampers need to be installed in all vents for the bathrooms.

5) Complete insulation in all walls.

6) Install straps on all vent & sewer stacks.

7) All third floor can lights in kitchen must be in a rated light fixture.

8) All water heaters need to be installed.

9) Connect all water lines and clamp to stud.

10) Install railings on all balconies.

11) Pour concrete on all balconies and steps.

12) Complete exterior paint.

13) Kill all mold found on ceiling joist and stud walls.

14) Complete all wiring to panels.

1) Bldg. #12
2) Fire-caulk all pipes and wire penetrations through wood.

Fill tub boxes under 2nd & 3rd floors.
Fire dampers need to be installed in all vents for the bathrooms.

Complete insulation in all walls.

Install straps on all vent & sewer stacks.

All third floor can lights in kitchen must be in a rated light fixture.

All water heaters need to be installed.

3) Connect all water lines and clamp to stud.

4) Install railings on all balconies.

5) Pour concrete on all balconies and steps.

6) Complete exterior paint.

7) Kill all mold found on ceiling joist and stud walls.

1)  Bldg. #13
2) Fire-caulk all pipes and wire penetrations through wood.

3) Fill tub boxes under 2nd & 3rd floors.

4) Fire dampers need to be installed in all vents for the bathrooms.

Complete insulation in all walls.

Install straps on all vent & sewer stacks.

All third floor can lights in kitchen must be in a rated light fixture.

All water heaters need to be installed.

5) Connect all water lines and clamp to stud.

6) Install railings on all balconies.

7) Pour concrete on all balconies and steps.

8) Complete exterior paint.

9) Kill all mold found on ceiling joist and stud walls.

10) Complete all wiring to panels.

11) Bldg. #14
12) Fire-caulk all pipes and wire penetrations through wood.

13) Fill tub boxes under 2nd & 3rd floors.

14) Fire dampers need to be installed in all vents for the bathrooms.

Complete insulation in all walls.

Install straps on all vent & sewer stacks.

All third floor can lights in kitchen must be in a rated light fixture.

All water heaters need to be installed.

15) Connect all water lines and clamp to stud.

16) Install railings on all balconies.

17) Pour concrete on all balconies and steps.

18) Complete exterior paint.

19) Kill all mold found on ceiling joist and stud walls.

13)   Complete all wiring to panels.

