February 28,2002

Mr. Floyd Carwile

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens/P0233508

Dear Mr. Carwile

I have received your letter dated Feb 13,2002. 

I called and spoke to the Manufacture of Miracle vent and asked them to recalculate the area in bldg #5 making sure that it would protect the sprinklers in covered porch area. He assured me it would. He has sent me a letter dated Feb 18,2002 indicating that the original calculations do cover this area.

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

