April 27, 2004

Mr. Lawrence Delaune

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: P0273923

      CNS Investments Corp Building #1

      Slidell, La. 70458

Dear Mr. Delaune

We are in receipt of your letter dated 4-21-04. Please note that this building is totally sprinkled, and Freedom Alarm has installed the minimum required alarm system per code. Please see the attached list of material from Freedom Alarm that will be installed.

We are asking to omit the Fire Alarm system that was noted on the DWG’s and your letter per Section 38.3.4.1. of the Life Safety Code.

Please call me with any question you may have.

Thank you,

Chuck Dammon

VP/Project Manager

