June 6, 2001

Braithwaite Construction Co., Inc

General & Electrical Contractors

3013 E. St Bernard Hwy.

Meraux, LA. 70075

Attn: Nikki Weber

          Project Manager

RE: Fritchie Maintenance Barn   

       Request for Information #1 - Dated 6/11/01

Mrs. Weber

The 2x2 notch-out is only required to be in the office area slab. The depth of the footing for the stoop will remain the same. As far as the stoop needing dowels it wouldn’t hurt to put a couple in there.

Sincerely,

Chuck Dammon

Project Manager

