1. September 18, 2001
Braithwaite Construction Co., Inc

General & Electrical Contractors

3013 E. St Bernard Hwy.

Meraux, LA. 70075

Attn: Nikki Weber

          Project Manager

RE: Fritchie Maintenance Barn

       Punch List Items

2. Tighten bolt at the top of bldg. above second floor loft.

3. Correct all doors with locks for proper operation of locks.

4. Adjust cabinet doors for correct closing height.

5. Label all computer outlets in rooms and were they are terminating in closet.

6. Install all fire extinguishers per plans.

7. Tile flooring near the office door jamb (West Side) leading outside appears to be coming loose.

8. Seal all exterior windows around trim.

9. Touch up paint in 2nd floor office.

10. Insulate water pipe on north east of bldg.

11. Install a door stop on the exterior door in the service area.

12. Strap power cord on water fountain in service area.

13. Clean bottom of stairs in service area.

Sincerely,

Chuck Dammon

Project Manager

