April 5, 2004

Seals Construction

510 River Oaks Drive

Covington, La. 70433

Hyundai Dealership

North Hwy 190

Covington, La.

Dear Mr. Seals

Per our meeting today, the following items shall be addressed.

1) The blue and silver exterior panels on the building, after sometime have expanded and contracted and not forming back to the same spacing as originally installed.

2) The contractor shall correct the problem from the advice of the installer with some spacers to keep the original shape and spaces.

Please call me with any question you may have.

Chuck Dammon

VP/Project Manager

