       


 STRUCTURAL INSPECTION

September 26, 2003

Type: Residential

For: R. Kelly Pace

Re:   229 Debbie Drive

         Slidell, La. 70458

History: 

The home is located on Lake Pontchartrain and is approximately 30 years old. It has a 400’ pier that is two years old and a concrete bulkhead that no one knows the age of . The Purchasers want an engineer’s opinion on the pier and bulkhead. 

Findings:

After a visual inspection it was noted that two swim platforms were located on the pier, one in the middle and one at the end of the 400’ pier. Both were demolished during the storm last year. It didn’t appear to have any damage to the pier itself from the storm. The bulkhead is made up of concrete with pilings in front of it. It was noted to have several cracks in it that are normal due to expansion and contraction. It could not be seen under the concrete bulkhead for any damage.
Analysis:

With the bulkhead and pier located right on the Lake Pontchartrain it will be subject to extreme weather conditions that will eventually deteriorate the pier and bulkhead. It is recommended that you inspect the pier and bulkhead after each storm for any damage and have it repaired promptly in order to save the structural ability of it.

Conclusion:

It is my professional opinion that the pier and bulkhead are in good condition.

Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

