       


 STRUCTURAL INSPECTION

October 9, 2002
Type: Residential

For: Christine Bryant

        25667 West Beech St.

        Lacombe, LA. 70445

Re: Structural Home Inspection

History: 

The subject is wood/frame brick on a concrete foundation. With a total Square footage of 1537. Age approximately 25+years. The appraiser noted hairline cracks in the brick. The lender wanted an engineer’s opinion on this.

Findings:

It was noted that there are two cracks in the left side of the home on the fireplace chimney and one crack near the front left window. There were a couple of cracks noted in the interior of the house in the ceiling and wall.  

We didn’t find any structural damage in the foundation. We did find that the house has normal expansion and contraction due to weather.

Analysis:

