Robert Brinson

950 Howze Beach Road

Slidell, La. 70458

RE: Lot 59, Lee Michoud Highway Units

      14701 Chef Menteur Hwy.

       New Orleans, La. 70129

Dear Mr. Brinson

Per your request I have inspected the above-mentioned property

(Foundation).

It is a conventional foundation with pilings every 6’. The foundation measures 98’x29’ and 4” thick. Some places were noted to be void of fill on the rear of the foundation. These areas will need to be filled in prior to any use of the foundation.

I find the foundation to be in good structural condition.

Sincerely

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

