STRUCTURAL INSPECTION

Date:
September 29, 2003

Type:
Residential

For: Keith Laborde

       2658 Windage Drive Sw

       Marietta, GA. 30008-8100

Re:
Keith Laborde

135 Trafalgar

Slidell, La. 70461 

History:

The owner stated that all floor coverings had been removed prior to the repairs to the foundation. He stated that prior to new floor coverings being installed that he personally poured Ortho-klor termite killer in all cracks. Next he hired Carter Appliances & Flooring Co., inc. to fill all cracks with a product called Ardex SD-F Cement and then sanded it smooth to match the cement slab. Please see the attached sheets.

Conclusion:

It is my professional opinion that after the house has been repaired with the above, that it would be structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


