       


 STRUCTURAL INSPECTION

October 8, 2002

Type: Residential

For: Larry & Gayle Rosiere

       547 Driftwood

       Slidell, La.70458

Re: Structural Home Inspection

History: 

The home is a wood frame with brick, on a concrete foundation. The owner has installed a concrete pad on the right side of the house for his boat. When backing up the boat onto the pad he hit the corner of the garage. The lender wanted an engineer’s opinion on this.

Findings:

The owner has repaired the brick facade. We didn’t find any structural damage in the walls or foundation. 

Analysis:

The repairs to the brick façade that were made are structurally sound.

