CITY OF SLIDELL

COMMERCIAL AND MULTI-FAMILY DEVELOPMENT CHECKLIST

GROSS FLOOR AREA:  


I.
ZONING CONFORMANCE DETERMINATION:  The proposed use of the property is permitted within its zoning district.                                                 


COMMENTS:

II.
SUBDIVISION CONFORMANCE:

A.
Construction across lot lines, except for single-family homes, the subdivision regulations require that no buildings be constructed across lot lines.



COMMENTS:  

B. Construction on lots created contrary to the present City Subdivision regulations

building permits will not be issued on such lots or parcels of land.


COMMENTS:  

III.
CHANGE OF USE DETERMINATION:  When the use of a parcel of property or structure changes, that parcel or structure must comply with all applicable standards established by the Zoning Ordinance.


COMMENTS:  

 IV.
NON-CONFORMING USE DETERMINATION:
Structures or uses lawfully permitted by previous Zoning Ordinances, but prohibited by the current ordinance, may not be enlarged or expanded unless the expansion conforms to the provisions of the current ordinance.



COMMENTS:  

V.
BUFFER ZONE REVIEW: 

A.
Buffer zone required – The Zoning Ordinance requires that a buffer zone be established between differing land uses as follows:








LDR
HDR
C
LI
HI

LOW DENSITY RESIDENTIAL (LDR)

   X
X
X
X

HIGH DENSITY RESIDENTIAL (HDR)


X
X
X

COMMERCIAL (C)






X
X

LIGHT INDUSTRIAL (LI)






X

HEAVY INDUSTRIAL (HI


X – Buffer Zone Required

       LDR – Single Family Detached Dwelling

       HDR – Attached Dwellings

            COMMENTS:    

B.
Buffer fence – An opaque fence at least six feet in height must be located on the property line between the two abutting land uses (see Section 2.2210 of the Zoning Ordinance for fence construction specifications).


1.
The fence must be installed prior to issuance of a building permit.

2. The fence shall extend six (6) feet above the highest point of ground elevation of the property requiring a buffer zone or the property to be buffered, whichever is higher.  (The required height needs to be shown on the site plan.)

NOTE: IF SUBDIVIDED, BURDEN OF BUFFER FENCE FALLS ON THE COMMERCIAL DEVELOPER. 


COMMENTS:    
C.
Ten foot buffer area established – A ten foot landscaped area is required between the abutting land uses.  Trees must be located in the ten-foot area with a 20-25 foot on center spacing (maximum).

COMMENTS:    

VI.
LAND CLEARING REVIEW:  In order to preserve existing trees on development sites, the Zoning Ordinance requires that a land clearing permit be approved prior to receiving a building permit.  Parking areas and building sites should be designed to preserve protected trees.  The City will give consideration to the following site conditions in its review of land clearing permit applications.

A.
Parcel Size – The ability of a developer to design a site plan that accommodates existing trees is dependent on the size of the parcel in question.  It is much more difficult, for example, to incorporate a specimen tree into a site plan on a 50 ft. by 120 ft. lot than a one acre parcel.

COMMENTS:  

B.
Condition of Existing Trees – Efforts must be undertaken by the developer to minimize the impact of construction activities on trees intended for retention.  However, in all probability, the trees will undergo some stress from related construction.  If the trees are in poor condition prior to start of construction, even minimal additional stress could kill them.  Consequently, such trees are poor candidates for retention.

COMMENTS:  

C.
Growth Conditions – From a road, a densely vegetated parcel appears to be an excellent candidate site for tree retention efforts.  A close examination of such sites often produces a different conclusion.  Trees that have grown along the perimeter of the tree line often are vegetated only on one side.  Trees that have grown in the interior of the site may be only vegetated at the very top of the tree.  This is particularly true of pine trees.  Consequently, in such circumstances, it is not advisable to leave individual trees.  Instead, clusters of trees should be retained.

COMMENTS:  

D.
Types of Trees – Certain species of trees are more desirable than others.  Oaks, magnolias, pecans, hollies, and other hardwoods are more desirable for retention.

COMMENTS:  

E.
Elevation and Drainage Changes – The life system of a tree can be critically affected by placing fill or any impervious surface over its root system.  Likewise, any excavation from the feeder root system to the trunk of the tree will also critically affect it.  However, through proper retention methods such trees can be effectively retained on a given site. (See City’s procedure on “Standards for Tree Retention”)  Amount of fill to be placed on the property will greatly depend on the Flood Elevation Certificate submitted by your Civil Engineer.

COMMENTS: 

VII.
LANDSCAPE REQUIREMENTS REVIEW:  The Zoning Ordinance establishes landscape requirements for commercial and multi-family developments.

A.
Perimeter Planting Area- a perimeter planting area at least ten (10) feet in width must be provided off the public right-of-way between the right-of-way and parking area or structures.  Planting materials should achieve a balance between low-lying vertical and horizontal shrubbery and trees.  Trees should be placed no more than 20-25 foot on center spacing with a compliment of no less than 4-6 shrubs per tree.

COMMENTS:  

B.
Parking Lot Planting – Parking lot interiors should be designed to provide at least one (1) tree for every twelve (12) parking spaces.  Each tree should be located in a landscaped island of at least 200 sq. ft.  Trees must be distributed uniformly so as to provide a canopy effect.

COMMENTS:  

C.
Pedestrian Access Planting – Landscaped areas must be provided between the building faces having access and the parking lot.  Four (4) sq. ft. landscaped area should be provided for every linear foot of building face.  No areas should have a side less than five (5) feet.  Planting materials should achieve a balance between low-lying shrubbery and vertical trees.  Trees should be placed no more than 20-25 foot on center spacing with a compliment of no less than 4-6 shrubs per tree.

1.) COMMENTS:  

VIII.
PARKING AND ACCESS REVIEW:

A.
Demand Computation – The applicable demand computation for indicated use is calculated as follows:




Total Gross Floor Area:  




Required Parking Spaces:  




Handicap Parking Spaces Provided: 

COMMENTS:   

B.
Access Analysis:

1.
Off-site improvements:  At the location of the proposed development, the anticipated peak demand warrants installation of off-site access improvements such as turning lanes or median cuts.

COMMENTS:  

 
2.
Access point location:

a.
Access points should not be located so as to encourage difficult or hazardous vehicular movements on adjacent streets.

COMMENTS:  

b.
Unless dictated by the size or configuration of a site, the center line of access driveways should not be located closer than seventy-five (75) feet from the center line of access driveways on or off of the site, or, in the case of a corner parcel, closer than seventy-five (75) feet to an adjacent right-of-way line.

COMMENTS:  

c.
Corner parcels which front a thoroughfare on one side and a residential street on the other side should not locate access points on the residential street.

COMMENTS:    

d.
Whenever possible, access driveways should be aligned directly with access driveways on the opposite side of the street.  This requirement is not applicable on streets divided by a median.

COMMENTS:  

e.
Access driveways should be aligned with median cuts or, in cases where streets dead-end at a development site, with the street.

COMMENTS:  

3.
Number of access points – The site plan should include the minimal number of access points necessary to safely and efficiently service the site.

COMMENTS:  


4.
Design of access driveways:

a.
Driveway width-commercial driveways should have a minimum width of twenty-four (24) feet.

COMMENTS:  

b.
Turning radius – Commercial driveways require a minimum turning radius of at least fifteen (15) feet.

COMMENTS:
  

c.
Access curb – Depressed or ramp type entrances are required on all commercial driveways.  Typical 1 inch raised lip per LA D.O.T.D. permit requirements.  (N.A. for roads without curbs.)

COMMENTS:  

d.
Consistency with state requirements – All entrances, turning lanes and other improvements located on state highways require approval of the Louisiana Department of Transportation and Development.  The state’s standards may be more stringent than the City’s standards.  Consequently, it is very important that related state permits be applied for as soon as possible after City approval.  Failure to receive state approval for such improvements may delay occupancy of the development.

COMMENTS:  


5.
Internal traffic lanes:

a.
Travel lane width – Travel lanes servicing 30, 45, 60 and 90 degree adjacent parking should provide travel lane widths as follows:



30 DEGREE PARKING – 11-13 FEET



45 DEGREE PARKING – 13-15 FEET



60 DEGREE PARKING – 18-20 FEET



90 DEGREE PARKING – 24-26 FEET

COMMENTS:  

b.
Dead end travel lanes – Dead and travel lanes should only be provided when servicing 90 degree adjacent parking.  In such circumstances, an area at least 10 feet deep by 24 feet wide (backing provided at the end of the lane to accommodate turning movements.

COMMENTS:  

c.
General design considerations – Travel lanes should be located to maximize efficient traffic flow and minimize difficult turning maneuvers.  Critical access lanes may require an expanded turning radius to accommodate fire protection vehicles.

COMMENTS:  

d.
Parking lots shall not be designed to require vehicles to back out onto pubic rights-of-way or major thoroughfares to exit the site.

COMMENTS: 

6.
Each automobile parking space shall be an area not less than 9 feet by 20 feet, except in C-6 zoning districts in which stall size shall be 8 feet 10 inches by 18 feet.  Handicap parking spaces (with an aisle) shall be a minimum of 13’ X 20’ for cars and 16’ X 20’ for vans.  A vertical sign as per ADA requirements shall mark each handicap space.  Additionally, if more than one handicap space is required, then two spaces may share a center 5’ access aisle.  See Diagram below as per ANSI standards.

[image: image1.png]516

Ui gg

AN

vonvovenoeon

|

ACCESS

|

emssannconneacao

60 min AISLE

1525

ct]

Uﬂﬂﬂﬂlﬂﬂﬂﬂo

Dnnlﬂlliﬂlma

|

NodoooooBno

AV 4

1

252 min

6400

Fig. 9

|

DEL LN T LT T -T2

ACCESSIBLE ROUTE

96 min

2440

Dimensions of Parking Spaces




COMMENTS:  

7.
Parking area surface – Parking areas should be surfaced with at least four (4) inches of concrete, two (2) inches of bituminous asphalt paving, or a pervious material such as grass crete.  Shell, gravel, or limestone is not an acceptable surface material

COMMENTS:

IX.
PEDESTRIAN ACCESS:  Sidewalks shall be provided within the public right-of-way adjacent to new residential and commercial development as follows:

Development Types

Minimum Width

Minimum Thickness

Single Family Detached

4 ft.



4 in.

Attached Residential


5 ft.



4 in.

Commercial



5 ft.



4 in.

Such sidewalks generally should be located one (1) foot from the property line within the right-of-way.  However, when this location would cause the loss of specimen trees, the sidewalk should be designed to maintain as many trees as possible.  Note:  Sidewalks are not required along LA D.O.T.D. thoroughfares per the State of Louisiana.

COMMENTS:

X.
REQUIRED YARD AREA SETBACKS:  In addition to the setbacks previously identified, the Zoning Ordinance requires other applicable setbacks.

A.
Commercial Development – Whenever a commercial development abuts a residential development, the rear yard setback for the residential zoning district applies as the rear yard setback for the commercial property.

COMMENTS:                                                                             

B.
Multi-Family Development – The applicable zoning classifications establish front, side, and rear yard setbacks.






Required
Submitted


Front


Side


Rear

COMMENTS:

C.
Accessory Uses – The Zoning Ordinance regulates the location of accessory buildings and uses.

COMMENTS:

XI.
NUMBER, TYPE, AND LOCATION OF DUMPSTERS/TRASH CONTAINERS:  Section 23 of the City of Slidell Code of Ordinances regulates solid waste.  The minimum service level that the city or its private contractor shall provide is as follows: 1.) Each commercial unit: twice a week, not to exceed two 32-gallon containers each day; 2.) Each household: twice a week, except households in buildings containing five or more families.  Those that exceed the minimum service must contract with a private collector for service at least once a week.  Every commercial unit shall provide a container capable of handling a week’s accumulation of trash in a sanitary manner and prevent the entrance of vectors.  Dumpsters shall be located on the site plan and be incorporated into the design for ease of access.

COMMENTS:

XII.
LOCATION OF LITTER RECEPTACLES:  The state’s litter law (LA R.S. 30:2535) requires every property with fifteen or more parking spaces be responsible for the procurement, placement, and maintenance of litter receptacles.  The law also requires a litter receptacle at any parking lot consisting of thirty or more parking spaces operated for public use.  The receptacles shall be located on the site plan and should be incorporated into the design for ease of access.


COMMENTS:

XIII.
LOCATION OF FIRE HYDRANTS:  Location of fire hydrants shall be indicated on the site plan.  Water mains shall be designed of sufficient size to provide at least one (1) fire hydrant to within three hundred (300) feet of all points of a structure per “hose lay”, within a commercial and industrial area.


COMMENTS:

XIV.
SIGNS:  All types of signage require permits.  Experience has indicated that in all too many cases, signage is an afterthought.  Signage should be part of the design process and considered an integral part of the site planning process.  A sign review and approval will be made by the Permit Department before a permit is issued.  Submit the sign packet as a separate packet for the types of signage listed below for review and approval.


Freestanding Signs (Single or Complex)


Facia Signs (Building or Wall Signs)


Directional Signs


Interstate Signs (if applicable)


Banners (Temporary Signs)


COMMENTS: 

XV.      EXTERIOR LIGHTING:  Section 2.19(J) in the Zoning Ordinance regulates glare.       No use in any district shall be operated so as to produce direct sky-reflected glare, or direct illumination, across the adjacent property line from a visible source of illumination of such intensity as to create a nuisance, or traffic hazard, or detract from the use or employment of adjacent property.  Residential lighting fixtures shall be directed or shaded to prohibit the intensity of light to exceed one-half foot-candle as measured at any adjacent residential property line.  Commercial lighting fixtures shall be directed and shaded to prohibit the intensity of light to exceed one (1) foot-candle as measured at any adjacent property line.


COMMENTS:  

PAGE  
1

