August 10, 2004

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: Dean Borne

RE: Mallstone Plaza Center, Slidell. La.

Dear Mr. Borne

Mike Anderson with Future Development asked us to verify the foundation that is ready for City inspection. The plans call out for 12”W x 24”D. The actual field sizes vary in size which is bigger in width and depth than the dwgs call for.

We feel this is acceptable for this installation. If you have any questions, or require any further information, please call.

Sincerely,

Pete Dammon

