June 26, 2003

Mr. Lawrence Delaune

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: P0258971

       Mutter Shopping Center

       Hwy 190

       Slidell, La. 70458

Dear Mr. Delaune

In response to your letter dated June 24, 2003.

We have included a 2 hour firewall between unit #9 and #10 using UL# U411. This will give us fire separation of 9000 sq.ft. & 11,300 sq.ft.  for a total of  20,300 sq.ft. We ask that you approve this per your note #2 of the review letter.

Please call me with any question you may have.
Sincerely,

Emmett G (Pete) Dammon

Louisiana License No. 8796

