April 16, 2004

Mr. Otis Ramke

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 and Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: PO273032

       Slidell Physical Therapy

       Village Street

       Slidell, La. 70458

Dear Mr. Ramke

Per your review of the above referenced project, we have revised the rear exit access for this building. Also, the need for a firewall is not required per Table 302.1.1 incidental use areas IBC 2000. Please see the attached layout’s and spec sheet. We are asking for your approval on this building.

Thank you for your time.

Sincerely,

Chuck Dammon/Project Manager

