Woodson Jr. High

Dear James,

The areas of concern are the pull stations in the cafeteria, these need to be repaired and also they need to have the plastic covers put on them. Also the auditorium needs to be cleaned and the stage lighting working (upper lighting and lower lighting) the roof of the auditorium still needs to be repaired so we can replace the ceiling tiles. 

We will not have a meeting this Thursday due to the Fire Marshall coming on Monday.

Thank You

Chuck Dammon

CC. Ted Harris

