August 4, 2003

Mr. John Cramer

City Of Slidell

P.O. Box 828

Slidell, LA 70458

Re:
Lot 24 Eagle Point 

Slidell, La.

Landmark Construction

Dear Mr. Cramer,

Please be aware that I calculated the loads for a beam for the above house, above the kitchen floor approximately 26 ft. long, to support a raised ceiling in that area.

I recommend approval of this connection, the angular support was beefed up to provide a glued and bolted scissors arrangement to guard against any tendency to rotate about the connection.

My calculations showed that a 12” x 5 1/8” gluelam beam would support the ceiling joist and gypsum board load in that area.  Landmark installed a 15” x 5 1/8” beam, which is more than capable of supporting the load.

Landmark also asked that I provide any changes required to adapt the beam at its end connection to the angular support down to the wall below.

Please call me with any questions you may have.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

cc:
Kenny @ Landmark

