October 2, 2007

Mr. John Cramer






City of Slidell

Phone 985-646-4392

Fax 985-646-6117

Re:  Lynn Kerling
       146 Woodcrest

       Slidell, La 70458

Dear Mr. Cramer,

A framing inspection on the referenced home was completed by Dammon Engineering. 
Numerous violations were identified and corrected by the framing contractor.  Dammon Engineering has completed a second inspection and feels that it is now appropriate for the City of Slidell to inspect the residence. 

Sincerely, 

Emmett G. Dammon, P.E.
