Customer :  Ricky Durand at St Tammany House 875-0059; fax 809-6807

2-10 Final Home Inspection for 100 Oak Island Blvd. Mandeville LA.  Lot 2 in Oak Island subdivision.

Scott or Tammy DoDoSat 674-9742

Inspected 10-15-04

1st floor hall bath hinges are loose on vanity.

Kitchen hinge loose on cabinet above oven.

4 electrical outlets in master bedroom are not grounded.

Upstairs bath room electrical GFI is wired incorrectly, hot and neutral reversal.

Front door threshold loose.

Exterior front door slab has minor crack.

None of the outside window frames are caulked.

Driveway has dip that collects water, this was temporarily repaired but repair work is breaking apart.

