David Dammon

ENCE 4358

Design Wind Bracing Between Framing Columns 3N & 4N (Similar between 3O and 4O)

Assumptions : Fy  = 50ksi   Fu =  65ksi            (Typical L shape is A36)

Level 1 to Level 2  - Using same design for L2 to L3 and L3 to L4.

Designed bracing to resist “tension only” due to Wind loads, Row N resists 50% of the East/West wind load and row O resists 50% of the load.  Each bracing will not support any gravity loads.  Assume that the East/West wind produces 40 psf.

East or West Building Area  -  from mid height on Level 1 to Level 6

Area between column rows * 3 plus 1 ft each side of columns rows times 3 ½ floors + 3 ft parapet. Add this to the area of Level 6.  Multiply all of this by the force

[(3 * 24) + 2] * [(3.5 * 14 )+ 3] + 13 (24 +2)

= [(74) * (52)] + [13 * 26]  =  3848  +  338  =  4186 ft2 * 40 #/ft2  =  167440  or 167.4 k

Each row of columns N and O will withstand ½ of the wind  167.4 / 2 = 83.7 k

Length of the diagonal = √(332 + 142) = √1285  =  35.85 ft

Each diagonal tension force  =  ratio *  force  =  35.85'/33'  *  83.7 k  =    90.9 k (t)

Gross section yielding

Pn = Fy x Ag


LRFD Φt=0.90 & Load = 1.6W

ASD  Ωt=1.67  & Load = 1.0W


Load =  Φt * Pn  = Φt  *  Fy x Ag 
  
Load = Pn/ Ωt =  Fy * Ag/Ωt       


Ag = Load/ Φt  *  Fy        

Ag = Load *  Ωt / Fy           


Ag =  90.9 k  * 1.6 /(0.9 * 50ksi) 

Ag =   90.9 k *  1.67/50ksi 


Ag =  145.44 k /45 ksi =  3.23 in2  

Ag =   151.8/50ksi = 3.04in2         

Tensile rupture strength

     Pn  = Fu * Ae  


LRFD Φt=0.75


ASD  Ωt=2.00


Load = Φt * Pn = Φt * Fu * Ae

Load = Pn/ Ωt = Fu * Ae/ Ωt                              


Ae = Load/Φt * Fu


Ae= Load * Ωt /Fu     


Ae =  90.9 k /0.75 * 65ksi          

Ae= 90.9 k * 2/65ksi                     


Ae =  90.9 k /48.75ksi = 1.86in2   

Ae= 181.8k /65ksi = 2.80in2   


rx,y minimum= L/300 


rx,y minimum= L/300


rx,y= 35.85 ft * 12 in/ft/300

rx,y = 430.2/300  =  1.434

Try L shape bracing:

L6x6x3/8    
Wt. 14.9 #/ft
    Ag = 4.38 in2     
r = 1.87 in 

For ¾” A325-N bolts

LRFD Capacity 15.9 k/bolt
ASD Capacity  10.6 k/bolt




LRFD


ASD

Diagonal Force/bolt Capacity          145.44 k /15.9 k =  9.1 bolts             90.9 k / 10.6 k = 8.6 bolts

Use two lines of 5 bolts

Table D3.1 AISC Case 8  Single angle with more than 4 fasteners per line use U = 0.80

Ae = U * An = 0.8 [4.38 in2 – 2(3/8”) (3/4” + 1/8”)] = 0.8 [4.38 – 0.656] = 0.8 * 3.723 = 2.98  in2

This Ae meets the Tensile Rupture Strength requirements calculated with ASD.

Level 4 to Level 5  - Both tension and compression.

Designed bracing to resist “both tension and compression” due to Wind loads, Row N resists 50% of the East/West wind load and row O resists 50% of the load.  Each bracing will not support any gravity loads.  Assume that the East/West wind produces 40 psf.

East or West Building Area  -  from mid height on Level 4 to Level 6

[(3 * 24) + 2] * (16/2 +3) + 13 (24 +2)

= [(74) * (11)] + [13 * 26]  =  814  +  338  =  1152 ft2 * 40 #/ft2  =  46080  or 46.1 k

Each row of columns N and O will withstand ½ of the wind  46.1 / 2 = 23.1 k

Length of the diagonal = √(332 + 142) = √1285  =  35.85 ft

Each diagonal force  =  ratio *  force  =  35.85'/33'  *  23.1 k  =    25.1 k (t & c)                  

ASD =  25.1k (t & c)  

LRFD = 1.6 * 25.1k =   40.2k  (t & c)     

AISC Pg 4-54 , KL shown at 36'  -  HSS 7x7x3/16 ASD= 29.0  LRFD = 43.6

KL/r = 200

r = KL/200 
r = (1)*(35.85')*(12”/')/200 = 2.15”

Try HSS 7 x 7 x 3/16;  A=4.67 in2; r=2.77 in;  Fy = 46 ksi  Wt = 17.06 #/ft (AISC pg 1-53)

Check Kl/r =  (1)*(35.85')*(12”/')/2.77 = 155.3 

Fe = (π2 * 29,000) / (155.3)2 = 11.87 ksi < .44*(46 ksi)=20.2 ksi
ELASTIC

Fcr = .877 Fe = .877 * 11.87 ksi = 10.41 ksi

Pn = Fcr x Ag

LRFD Φc=0.90

ASD  Ωc=1.67

Φc x Pn


  Pn/ Ωc

0.9 * 10.41 ksi * 4.67 = 43.7k              10.41 ksi * 4.67 in2/1.67 = 29.1k

    Check Required/Capacity
40.2/43.7


25.1/29.1

· Use same HSS 7 x 7 x 3/16 for Level 5 to Level 6

Column Design

Assumptions : Fy  = 50ksi   Fu =  65ksi 

Dead Load : 100 psf

Exterior Wall System : 50 psf (Supported mid-height of each floor)

Live Load :  L2, L3, L4 = 120 psf


  L5, L6 (Lr) = 60 psf

Wind Load:  40 psf (Service Level)

Seismic Load:  None

Exterior non-corner columns - M2, M3, M4, M5, P2, P3, P4, P5, N1, N6, O1, O6

Exterior corner columns -  M1, M6, P1, P6 all have lower loads but use same section as Exterior non-corner columns.

Non Rigid Frame Column Splice: Mid-Height between Level 2 and Level 3 only, from this splice to top is single unit.

ASD load cases 
D + L 
&
 D + .75L + .75Lr    

LRFD load cases
1.2D + 1.6L + 0.5Lr    

Exterior non-corner Column Area per level 33'(24'/2) = 33' (12') = 396 ft2      

Design Load above Splice for Exterior Non-Corner Columns :   L3 + L4 + L5 

D: [396 ft2 (100 psf + 100 psf + 100 psf)] + [33' * (14' + 14' + 10') * (50 psf)] 


=118,800 + 62,700 =181,500  or 181.5k

L: [396 ft2 (120 psf + 120 psf)] =  95,040k  or 95.0k            

Lr : 396 ft2 (60 psf) =  23,760k   or  23.8k                      

ASD load cases 
D + L =   181.5k +  95.0k =  276.5k  *** USE THIS LOAD ***                     




D + .75L + .75Lr = 181.5k + [.75 * (95.0k)] + [.75 * (23.8k)]             



= 181.5k + 71.3k +  17.9k =  270.7k      

LRFD load cases
1.2D + 1.6L + 0.5Lr = [1.2 * 181.5k] + [1.6 * (95.0k)] + [0.5 * (23.8k)] 




=  217.8k + 152.0k + 11.9k = 381.7k *** USE THIS LOAD ***                                                                                  

Above Splice ASD & LRFD : 

AISC 13th  Pg 4-14;  KL=14'; W14x61 (50 ksi)

ASD  Pn/ Ωc = 380k > 276.5k  OK






LRFD Φc x Pn = 572k > 381.7k  OK

AISC 13th  Pg 4-14;  KL=14'; W14x53 (50 ksi)

ASD  Pn/ Ωc = 267k not > 276.5k NOT OK






LRFD Φc x Pn = 401k > 381.7k  OK

Check From Above Splice W14x61 with KL=14'

ry = 2.45”;  Area = 17.9 in2; AISC Pg 1-22

Kl/r =  (1)*(14')*(12”/')/2.45 = 68.6  

Fe = (π2 * 29,000) / (68.6)2 = 60.82 ksi > .44*(50 ksi)=22.0 ksi  INELASTIC CAN NOT USE EULER

Fcr = (0.658 50/60.82)
*50 = (0.6580.82209) * 50
= 35.44 ksi 
Pn = Fcr x Ag

LRFD Φc=0.90

ASD  Ωc=1.67

Φc x Pn


  Pn/ Ωc

0.9 * 35.44 ksi * 17.9 in2 = 570.9k              35.44 ksi * 17.9 in2/1.67 = 379.9k

    Check Required/Capacity
382/571


277/380

Design Load from Base to Splice : 
    L1 + L2 + L3 + L4 + L5  (L1 Supported by Foundation)

D: [396 ft2 (100 psf + 100 psf + 100 psf + 100 psf)] + [33' * (14' + 14' + 14' + 10') * (50 psf)] 


=158,400 + 85,800 =244,200  or 244.2k

L: [396 ft2 (120 psf + 120 psf + 120 psf )] = 142,560k  or 142.6k            

Lr : 396 ft2 (60 psf) =  23.8k                      

ASD load cases 
D + L =  244.2k +  142.6k =  386.8k    *** USE THIS LOAD ***                    




D + .75L + .75Lr = 244.2k + [.75 * (142.6k)] + [.75 * (23.8k)]             





= 244.2k +  107.0k +  17.85k =  369.1k         

LRFD load cases
1.2D + 1.6L + 0.5Lr = [1.2 * (244.2k)] + [1.6 * (142.6k )] + [0.5 * (23.8k)] 




=  293.04k + 228.15k + 11.9k = 533.1k *** USE THIS LOAD ***

From Base to Splice ASD & LRFD : 

AISC 13th  Pg 4-14;  KL=14'; W14x68 (50 ksi)

ASD  Pn/ Ωc = 425k > 387k  OK






LRFD Φc x Pn = 639k > 533k  OK

AISC 13th  Pg 4-14;  KL=14'; W14x61 (50 ksi)

ASD  Pn/ Ωc = 380k NOT> 387k  NOT OK






LRFD Φc x Pn = 572k > 533k  OK

Check From Base to Splice W14x68 with KL=14'

ry = 2.46”;  Area = 20.0 in2; AISC Pg 1-22

Kl/r =  (1)*(14')*(12”/')/2.46 = 68.3  

Fe = (π2 * 29,000) / (68.3)2 = 61.4 ksi > .44*(50 ksi)=22.0 ksi  INELASTIC CAN NOT USE EULER

Fcr = (0.658 ^50/61.4)
* 50 = (0.6580.81433) * 50 = 35.56 ksi 
Pn = Fcr x Ag

LRFD Φc=0.90

ASD  Ωc=1.67

Φc x Pn


  Pn/ Ωc

0.9 * 35.56 ksi * 20.0 in2 = 640.1k              35.56 ksi * 20.0 in2/1.67 = 425.9k

    Check Required/Capacity
533/640


387/426

CONCLUSION
Exterior Columns (Non-Corners) Above Splice use W14x61 (50 ksi)




Exterior Columns (Non-Corners) from Base to Splice use W14x68 (50 ksi)

Design Interior Columns :   N3; N4; O3; O4

Splices 4 ft above L2 and 4 ft above L4 ; Column Area per level = 24' * 33' = 792 ft2   

Dead Loads (D)

Above L4 Splice #1 -   (L5)[792 ft2 * 100 psf] +  (L6)[396 ft2 * 100 psf] +  (Ext Wall)[13' * 33' * 50 psf]      



      79,200 + 39,600 + 21,450 = 140,250  or 140.2k  

Above L2 Splice #2 -  140.2k + [2 * (792 ft2 * 100 psf)] = 298.6k    

Base above L1  -  298.6k  * [792 ft2 * 100 psf] = 377.8k   

Floor Live Loads (L) 

Above L4 Splice #1 -   (L5)[396 ft2 * 120 psf] = 47.5k          

Above L2 Splice #2 -  (L5)47.5k  + (L3 & L4) [2 * (792 ft2 * 120 psf)] = 237.6k    

Base above L1  -  237.6k  * [792 ft2 * 60 psf] = 285.1k   

Roof Live Load (Lr)

Above L4 Splice #1 -   [792 ft2 * 60 psf] = 47.5k          

Above L2 Splice #2 -    

= 47.5k    

Base above L1  -     

= 47.5k  

[image: image1.emf]
Wind Load : 
Splice #1 : [(3.6k * 22') + (18k * 10')] / 33' = 7.9k



Splice #2 : [(3.6k * 50') + (18k * 38') + (20.2k * (24' + 10')] / 33' = 47.0k



Base : [(3.6k * 68') + (18k * 56') + (20.2k * (18' + 28' + 42')] / 33' = 91.8k

ASD load cases 
D + L ;    D + Lr;    .6D + W;    D + W    

Splice #1
D + L ; 140.2k © + 47.5k ©   =   187.7k © 
 


D + Lr; 140.2k © + 47.5k © =   187.7k ©     *** USE THIS LOAD ***


.6D + W; 0.6 * 140.2k © + 7.9k (T) =   76.2k ©


.6D + W; 0.6 * 140.2k © + 7.9k © =   92.0k ©


D + W; 140.2k © + 7.9k (T) =   132.3k ©


D + W; 140.2k © + 7.9k © =   148.1k ©

Splice #2
D + L ; 298.6k © + 237.6k © =   536.2k ©     *** USE THIS LOAD ***



D + Lr; 298.6k © + 47.5k © =   346.1k ©


.6D + W; 0.6 * 298.6k © + 47.0k (T) =   132.2k ©


.6D + W; 0.6 * 298.6k © + 47.0k © =   226.2k ©


D + W; 298.6k © + 47.0k (T) =   251.6k ©


D + W; 298.6k © + 47.0k © =   345.6k ©

Base
D + L ; 377.8k © + 285.1k © =   662.9k ©     *** USE THIS LOAD ***



D + Lr; 377.8k © + 47.5k © =   425.3k ©


.6D + W; 0.6 * 377.8k © + 91.8k (T) =   139.9k ©


.6D + W; 0.6 * 377.8k © + 91.8k © =   318.5k ©


D + W; 377.8k © + 91.8k (T) =   286.0k ©


D + W; 377.8k © + 91.8k © =   469.6k ©

ASD Analysis
Splice #1
187.7k @ KL=14
W14x43   Pn= 212k 



Splice #2
536.2k @ KL=14
W14x90   Pn= 682k 



Base
662.9k @ KL=14   
W14x99   Pn= 751k   

LRFD load cases
1.2D + 1.6L + 0.5Lr ; 1.2D + 0.5L + 1.6Lr ; 



0.9D + 1.6W ; 1.2D + 1.6W + 0.5(L + Lr ) 

Splice #1
1.2D + 1.6L + 0.5Lr; 1.2(140.2k ©) + 1.6(47.5k ©) + 0.5(47.5k ©) = 268.0k ©


1.2D + 0.5L + 1.6Lr; 1.2(140.2k ©) + 0.5(47.5k ©) + 1.6(47.5k ©) = 268.0k ©  * USE THIS LOAD *


0.9D + 1.6W; 0.9(140.2k ©) + 1.6(7.9k (T)) =  113.5k ©


0.9D + 1.6W; 0.9(140.2k ©) + 1.6(7.9k ©) =    138.8k ©


1.2D + 1.6W + 0.5(L + Lr ); 1.2(140.2k ©) + 1.6(7.9k (T)) + 0.5(47.5k © + 47.5k ©) = 203.1k ©


1.2D + 1.6W + 0.5(L + Lr ); 1.2(140.2k ©) + 1.6(7.9k ©)  + 0.5(47.5k © + 47.5k ©) = 228.4k ©

Splice #2
1.2D + 1.6L + 0.5Lr; 1.2( 298.6k ©) + 1.6( 237.6k ©) + 0.5(47.5k ©) =762.2 k ©*USE THIS LOAD *


1.2D + 0.5L + 1.6Lr; 1.2( 298.6k ©) + 0.5( 237.6k ©) + 1.6(47.5k ©) = 553.1k ©


0.9D + 1.6W; 0.9( 298.6k ©) + 1.6(47.0k (T)) = 193.5 k ©


0.9D + 1.6W; 0.9( 298.6k ©) + 1.6(47.0k ©) =   343.94 k ©


1.2D + 1.6W + 0.5(L + Lr ); 1.2( 298.6k ©) + 1.6(47.0k (T)) + 0.5(237.6k © + 47.5k ©) =425.7 k ©


1.2D + 1.6W + 0.5(L + Lr ); 1.2( 298.6k ©) + 1.6(47.0k ©)  + 0.5(237.6k © + 47.5k ©) =576.1k ©

Base
1.2D + 1.6L + 0.5Lr; 1.2( 377.8k ©) + 1.6( 285.1k ©) + 0.5(47.5k ©) =933.3k © *USE THIS LOAD *


1.2D + 0.5L + 1.6Lr; 1.2( 377.8k ©) + 0.5( 285.1k ©) + 1.6(47.5k ©) =671.9k © 


0.9D + 1.6W; 0.9( 377.8k ©) + 1.6(91.8k (T)) = 193.1k ©


0.9D + 1.6W; 0.9( 377.8k ©) + 1.6(91.8k ©) =   486.9k ©


1.2D + 1.6W + 0.5(L + Lr ); 1.2( 377.8k ©) + 1.6(91.8k (T)) + 0.5(285.1k © + 47.5k ©) =472.8 k ©


1.2D + 1.6W + 0.5(L + Lr ); 1.2( 377.8k ©) + 1.6(91.8k ©)  + 0.5(285.1k © + 47.5k ©) =766.5 k ©


LRFD



ASD 

Splice #1
Pn = 268.0k ©

Splice #1 
Pn = 187.7k ©


KL=14
W14x43


KL=14
W14x43

Splice #2
Pn = 762.2 k ©

Splice #2 
Pn = 536.2k ©

KL=14
W14x82


KL=14
W14x90

Base
Pn = 933.3k ©

Base
Pn = 662.9k ©

KL-14
W14x90


KL=14
W14x90




Check Above Splice #1 W14x43 with KL=14'

ry = 1.89”;  Area = 12.6 in2; AISC Pg 1-22

Kl/r =  (1)*(14')*(12”/1')/1.89 = 88.9  

Fe = (π2 * 29,000) / (88.9)2 = 36.2 ksi > .44*(50 ksi)=22.0 ksi  INELASTIC CAN NOT USE EULER

Fcr = (0.658 ^50/36.2)
* 50 = (0.6581.38122) * 50 = 28.05 ksi 
Pn = Fcr x Ag

LRFD Φc=0.90

ASD  Ωc=1.67

Φc x Pn


  Pn/ Ωc

0.9 * 28.05 ksi * 12.6 in2 = 318.1k              28.05 ksi * 12.6 in2/1.67 = 211.6k

    Check Required/Capacity
268/318


188/212

Check Above Splice #2 W14x90 with KL=14'

ry = 3.70”;  Area = 26.5 in2; AISC Pg 1-22

Kl/r =  (1)*(14')*(12”/')/3.70 = 45.4  

Fe = (π2 * 29,000) / (45.4)2 = 138.9 ksi > .44*(50 ksi)=22.0 ksi  INELASTIC CAN NOT USE EULER

Fcr = (0.658 ^50/138.9)
* 50 = (0.6580.35997) * 50 = 43.01 ksi 
Pn = Fcr x Ag

LRFD Φc=0.90

ASD  Ωc=1.67

Φc x Pn


  Pn/ Ωc

0.9 * 43.01 ksi * 26.5 in2 = 1025.8k              43.01 ksi * 26.5 in2/1.67 = 682.5k

    Check Required/Capacity
762/1026


536/682

Check Above Base W14x90 with KL=14'

ry = 3.70”;  Area = 26.5 in2; AISC Pg 1-22

Kl/r =  (1)*(14')*(12”/')/3.70 = 45.4  

Fe = (π2 * 29,000) / (45.4)2 = 138.9 ksi > .44*(50 ksi)=22.0 ksi  INELASTIC CAN NOT USE EULER

Fcr = (0.658 ^50/138.9)
* 50 = (0.6580.35997) * 50 = 43.01 ksi 
Pn = Fcr x Ag

LRFD Φc=0.90

ASD  Ωc=1.67

Φc x Pn


  Pn/ Ωc

0.9 * 43.01 ksi * 26.5 in2 = 1025.8k              43.01 ksi * 26.5 in2/1.67 = 682.5k

    Check Required/Capacity
933/1026


663/682

CONCLUSION
Interior Columns (N3;N4; O3; O4) 



 Above Splice #1 W14x43



 Above Splice #2 to Splice #1 W14x90

Floor Beam Design for North/South Interior Beams Level 2, Level 3 & Level 4

[image: image2.emf]
Contributory Width =  33/3 = 11 ft


Mmax = wL2/8 , Vmax = wL/2 ,  Δmax= 5wL4/384EI (AISC Pg 3-220)

Deflection Limits, For ASD & LRFD use un-factored loads


ΔLive < 24*12/360 = 0.8 in ; ΔTotal < 24*12/200 = 1.44 in

LOADS

wD=100psf * 11' = 1.1k/LF

wnD = 1.2 * 1.1k/LF = 1.32k/LF

wL=120psf * 11' = 1.32k/LF

wnL = 1.6 * 1.32k/LF = 2.11k/LF


   wT = 2.42k/LF


wnT = 3.43k/LF

Imin =  max of 5wLL4 *1728/384E*ΔLive    or
5 wT L4 *1728/384E* ΔTotal 

Imin = max of  (5 * 1.32k/LF * 244 * 1728)   or
 (5 * 2.42k/LF * 244 * 1728) 


     (384 * 29,000 ksi * 0.8 in)
   (384 * 29,000 ksi * 1.44 in.)

      = max of  (425 in4) 

           or 
      (433 in4)

Imin =  433 in4

Designed as fully braced

Mn = Mp = ZFy

LRFD



ASD 


Load Case 1.2D + 1.6L


Load Case D + L  


Mmax = 1/8 * 3.43 * 242 = 247.0ft-k   

Mmax = 1/8 * 2.42 * 242 = 174.2ft-k   


Vmax = 3.43 * 24 /2 = 41.2k  

Vmax = 2.42 * 24 /2 = 29.0k  

Zrequired  = 247 *12”/ft /(.9 * 50ksi) = 65.9in3
Zrequired  = 174.2 *12”/ft * 1.67 / 50ksi = 69.8in3


Irequired = 433 in4


Irequired = 433 in4


W18x35 A=10.3, d=17.7, tw=0.300, Zx-x = 66.5 >64, Ix-x = 510 > 433

Check shear: LRFD (d * tw * ksi) > Vmax     ;   
ASD (d * tw * ksi/1.5) > Vmax     

LRFD (17.7 * 0.3 * 50) = 265 > 41.2          ;
ASD (17.7 * 0.3 * 50/1.5) = 177 > 29.0 

Floor Beam Design for North/South Exterior Beams Level 2, Level 3 & Level 4 (Cont.)

Contributory width floor = 11/2 = 5.5'

Contributory height exterior walls = 14'

wD=(100psf * 5.5') + (50psf * 14') 
= 1.25k/LF

wnD = 1.2 * 1.25k/LF = 1.50k/LF

wL=(120psf * 5.5' 

= 0.66k/LF

wnL = 1.6 * 0.66k/LF = 1.06k/LF


   wT = 1.91k/LF< 2.42k/LF (Interior)

wnT = 2.56k/LF <  3.43k/LF (Interior)

Use W18x35 for both ASD and LRFD

Beam End Connections

¾” A325-N bolts

LRFD Capacity 15.9 k/bolt
ASD Capacity  10.6 k/bolt

[image: image3.emf]
East/West Girders Interior Level 2, Level 3 & Level 4

[image: image4.emf]

LOADS

PD=100psf * 11' * 24'= 26.4k


ΔLive  = 33 * 12/360 = 1.1

PL=120psf * 11' * 24'= 31.7k


ΔTotal  = 33 * 12/200 = 1.98


   PT = 58.1k


Imin =  max of 0.036 PLL3 *1728/E *ΔLive       or
0.036 PT L3 *1728/E * ΔTotal 

Imin = max of  ( 0.036 * 31.7k * 243 * 1728)   or
 ( 0.036 * 58.1k * 243 * 1728) 


       (29,000 * 1.1 in)
   
       (29,000 * 1.98)

      = max of  (855 in4) 
            or 
      (870 in4)

Imin =  870 in4

Mmax = P (L/3) 

Vmax = P

Δmax  =  0.036 PL3/EI (AISC Pg 3-208) 

LRFD



ASD

Mnmax = (1.2PD + 1.6PL) * 33'/3

Mmax = PT (33'/3)

  = [1.2(26.4k) + 1.6(31.7k)] * 33/3 =  906.4ft-k  
     =  58.1k (33/3) =  639.1ft-k            

Vnmax = (1.2PD + 1.6PL)
 

Vmax = PT 

    = [1.2(26.4k) + 1.6(31.7k)] =  82.4k 
        =  58.1k  

Zrequired  = 906.4ft-k *12”/ft /(.9 * 50ksi) = 242in3
Zrequired  = 639.1ft-k *12”/ft * 1.67 / 50ksi = 256in3

Irequired = 870 in4


Irequired = 870 in4

W21x101 A=29.8, d=21.4, tw=0.500,        ;
W21x111 A=32.7, d=21.5, tw=0.550,    

Zx-x = 253 >242, Ix-x = 2420 > 870           ;
Zx-x = 279 >256, Ix-x = 2670 > 870

Check shear: LRFD (d * tw * ksi) > Vnmax  ;
ASD (d * tw * ksi/1.5) > Vmax     

( 21.4 * 0.5 * 50) = 535 > 82.4  
           ;
( 21.5 * 0.55 * 50/1.5) = 394 > 58.1     

East/West Girders Exteriors Level 2, Level 3 & Level 4

Contributory width floor = 24'/2 = 12'

Contributory height exterior walls = 14' * 11'

PD=(100psf * 12' * 11') + (50psf * 14' * 11') 
= 20.9k
PnD = 1.2 * 20.9k = 25.1k

PL=(120psf * 12' * 11')


= 15.8k
PnL = 1.6 * 15.8k = 25.3k


   PT = 36.7k  


PnT = 50.4k 

Imin =  max of 0.036 PLL3 *1728/E *ΔLive       or
0.036 PT L3 *1728/E * ΔTotal 

Imin = max of  ( 0.036 * 15.8k * 243 * 1728)   or
 ( 0.036 * 36.7k * 243 * 1728) 


       (29,000 * 1.1 in)
   
       (29,000 * 1.98)

      = max of  (425.9 in4) 
            or 
      (549.6in4)

Imin =  549.6 in4

Mmax = P (L/3) 

Vmax = P

Δmax  =  0.036 PL3/EI (AISC Pg 3-208) 

LRFD



  ASD

Mnmax = (1.2PD + 1.6PL) * 33'/3

  Mmax = PT (33'/3)

  = [25.1k + 25.3k] * 11' =  554.4ft-k  
     =  36.7k (11') =  403.7ft-k            

Vnmax = (1.2PD + 1.6PL) = 50.4k
 
  Vmax = PT =  36.7k 

Zrequired = 554.4ft-k*12”/ft /(.9 * 50ksi) = 147.8in3
  Zrequired  = 403.7ft-k *12”/ft * 1.67 / 50ksi = 161.8in3

Irequired = 549.6 in4


  Irequired = 549.6 in4

W21x68 A=20.0, d=21.1, tw=0.4300, 
W21x73 A=21.5, d=21.2, tw=0.455,    

Zx-x = 160 >147.8, Ix-x = 1480 > 549.6
Zx-x = 172 >161.8, Ix-x = 1600 >   549.6

Check shear: LRFD (d * tw * ksi) > Vnmax 
ASD (d * tw * ksi/1.5) > Vmax     

LRFD ( 21.1 * 0.43 * 50) = 454 > 50.4   ;    
ASD ( 21.2 * 0.455 * 50/1.5) = 321 > 36.7     

RIGID FRAME DESIGN @ N2 – O2 & N5 - O5

Resisting North/South Wind Loads & Providing North/South Stability

[image: image5.emf]
P-loads – Lump all vertical loads at end nodes, even though some load goes directly to rigid frame beams. 

LRFD  Load Case 1.6D + 1.2Wind + 0.5L

E = 29,000 ksi 

Wind Loads

W1 = 1.6 * Wind psf [½ length of building * height of exterior wall supported by each floor]

W1 = 1.6 * 40psf [(½(5 * 33' + 2')) * 14')]

      = 1.6 * 40psf [(½ * 167') * 14'] = 1.6 * 40psf * 1169ft2 = 74.8k     

W2 = 1.6 * Wind psf [½ (length of building * ½ height of exterior wall supported by each floor + parapet) + (½ length of the penthouse + 1') * ½ height of exterior wall penthouse]

W2 = 1.6 * 40psf [[(½(5 * 33' + 2')) * (14/2' + 3')] + [½(3 * 33' + 2' ) * 12'/2]]

W2 = 1.6 * 40psf [[(½ * 167') * 10'] + [(50.5' * 6')]] = 1.6 * 40psf [835ft2 + 303ft2] = 72.8k  

W3 = 1.6 * Wind psf [½ length of the penthouse + 1') * ½ height of exterior wall penthouse +1' parapet]

W3 = 1.6 * 40psf [½(3 * 33' + 2' ) * (12'/2 + 1')]

W3 = 1.6 * 40psf [50.5' * 7'] = 1.6 * 40psf * 353.5ft2 = 22.6k   

Vertical Loads from 1.2D + 0.5L

P1 = 1.2 * [24' * 33' * 100psf] + 0.5[24' * 33' * 120psf]

    = 95.04k + 47.52k = 142.56k     

P2 = 1.2[(24' * 33' * 100psf)+(6'(12' + 16.5') *50psf)] + 0.5 [24' * 33' *60psf]

    = 1.2 [79.2k + 8.55k] + 0.5 [47.5k] = 105.3k + 23.7k =  129.0k

P3 = 1.2 [(12' * 16.5' * 100psf) + ((6'+1')(12' + 16.5') * 50psf)] + 0.5 [12' * 16.5' * 60psf]

    = 1.2 [19.8k  + 10.0k] + 0.5 [11.9k] =  35.76k + 5.95k =  41.7k

All factored load at Level 2, 3, or 4 for 50% of Bldg not directly applied to rigid frame as P4.  Cut the building in two symmetrical halves North to South, each half of building is supported by rigid frame in that area: 72' x 82.5' = 5,940 ft2 , with perimeter : (2 * 82.5') + 72' =  237' ; Penthouse dimensions  24' x 49.5' = 1,188 ft2 , with perimeter : (2 * 49.5') + 24' =123'

P4 = 1.2 [(5,940 ft2 * 100 psf) + (14' * 237' * 50psf)] + 0.5 [5,940 ft2 * 120 psf] – 2 * P1

    = 1.2 [594k + 165.9k] + 0.5 [712.8k] – 2 [142.6k] = 911.88k + 356.4k – 285.2k = 983.1k  

P5 = 1.2[(5,940 ft2 *100 psf)+((7' + 3') *237' *50psf)+(6' *123' *50psf)]+0.5[5,940 ft2 *60 psf]– 2 * P2

    = 1.2 [594k + 118.5k + 36.9k] + 0.5 [356.4k] – 2 [129k] = 899.3k + 178.2k – 258.0k = 819.5k 

P6 = 1.2[(1,188 ft2 *100 psf) + ((6' + 1') * 123' * 50psf)] + 0.5[1,188 ft2 * 60 psf] – 2 * P3

    = 1.2 [118.8k + 43.0k] + 0.5 [71.3k] – 2 [41.7k] = 194.2k + 35.7k – 83.4k = 146.5k 

Preliminary Design – Portal Method, ignoring P–Δ

[image: image6.emf]
L5 – L6 Columns and L6 Beam

M = 12'/2 * 11.3k = 67.8ft-k        

L4 – L5 Columns 


L5 Beam

M = 14'/2 * 47.7k = 333.9ft-k         

333.9ft-k + 67.8ft-k = 401.7ft-k         

L3 – L4 Columns 


L4 Beam

M = 14'/2 * 85.1k = 595.7ft-k         

595.7ft-k  + 333.9ft-k = 929.7ft-k         

L2 – L3 Columns 


L3 Beam

M = 14'/2 * 122.5k = 857.5ft-k         

857.5ft-k  + 595.7ft-k  = 1453.2ft-k         

L1 – L2 Columns 


L2 Beam

M = 14'/2 * 159.9k = 1119.3ft-k         
1119.3ft-k + 857.5ft-k = 1976.8ft-k         

Rigid Frame Beam Selection

Ignoring Axial Force and P–Δ ; Assumed fully braced                         

L6 Zrequired = (67.8ft-k) * (12”/ft) / (.9 * 50ksi) = 18.1 in3    

W14x68, Z=115 in3

L5 Zrequired = (401.7ft-k) * (12”/ft) / (.9 * 50ksi) = 107.1 in3     

W21x83, Z=196 in3    

L4 Zrequired = (929.7ft-k) * (12”/ft) / (.9 * 50ksi) = 247.9 in3    

W21x132, Z=333 in3

L3 Zrequired = (1453.2ft-k) * (12”/ft) / (.9 * 50ksi) = 387.5 in3    

W30x148, Z=500 in3

L2 Zrequired = (1976.8ft-k) * (12”/ft) / (.9 * 50ksi) = 527.1 in3    

W30x191, Z=675 in3

In addition to the strength requirements limit the L6 lateral movement to height/150 due to factored loads, including P–Δ, 816” / 150 =  5.44”      

Rigid Frame Preliminary Column Design

Below Splice #2 to Column Base (L1 – L2)

Mprelim =  1119.3ft-k 

Forces at base of L1 due to Wind =  [W1 * (distance from base to Level 2 + Level 3 + Level 4) + (W2 * distance from base to Level 5) + (W3 * distance from base to Level 6) ]  / distance between rigid frame columns     

    =  [74.8k * (14' + 28' + 42') +  (72.8k * 56') + (22.6k * 68')] / 24'       

    =  [ 6283.2ft-k + 4076.8ft-k  + 1536.8ft-k ] / 24'  = 495.7k   (due to 1.6W)

PDown = 3P1 + P2 + P3 + Axial force from wind overturning

PDown = 3(142.56k) + 129.0k + 41.7k + 495.7k  =  1094.1k 

(Note: Pmin = .9PDown = 984.7k> 495.5k therefore No Uplift)

At this point assuming Mn = Mprelim

Using this Moment only Zrequired = (1119.3ft-k * 12”/ft) / (.9 * 50ksi) = 298.9 in3

Start with W24x192, A= 56.3 in2, I = 6260 in4, ry = 3.07”, rx = 10.5”, Z = 559 in3

Assuming the weak axis for buckling governs 

(to be check later)

Kl/r = (1 * 14' * 12”/ft) / 3.07” =  54.7       

Fe = (π2 * 29,000) / (54.7)2 = 95.7 ksi >.44*(50 ksi)=22 ksi       INELASTIC CAN NOT USE EULER

Fcr = (0.658 50/95.7) * 50 = (0.6580.52247) * 50
= 40.18 ksi 

LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

0.9 * 40.18 ksi * 56.3 in2 = 2035.9k              


    Check Required/Capacity
1094.1k/ 2035.9k =   0.537   

Mu/ΦMn = (1119.3ft-k * 12”/ft) / (.9 * 559 in3 * 50ksi) = 0.534        

(Not including P–Δ   0.537 + 0.534 = 1.07 > 1  Not OK!                 1.07 * 192 #/ft = 205.6 #/ft

Try W24x229, A= 67.2 in2, I = 7650 in4, ry = 3.11”, rx = 10.7”, Z = 675 in3

Kl/r = (1 * 14' * 12”/ft) / 3.11” =  54.0       

Fe = (π2 * 29,000)/(54.0)2 = 98.1 ksi > .44*(50 ksi)=22 ksi STILL INELASTIC CAN NOT USE EULER

Fcr = (0.658 ^50/98.1) * 50 = (0.6580.5096) * 50
= 40.39 ksi 

LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

0.9 * 40.39 ksi * 67.2 in2 = 2443.1k              


    Check Required/Capacity
1094.1k/ 2443.1k =   0.448   

Mu/ΦMn = (1119.3ft-k * 12”/ft) / (.9 * 675 in3 * 50ksi) = 0.442       

(Not including P–Δ   0.448 + 0.442 = 0.89 < 1   OK!               

For Preliminary Design from Base to Splice 2 use W24x229, A= 67.2 in2, I = 7650 in4, ry = 3.11”, rx = 10.7”, Z = 675 in3

Splice #2 to Splice #1 (L2 – L3)

ML2 – L3 Columns = 857.5ft-k ; 

Forces at Splice #2 due to Wind =  [W1 * (distance from Splice #2 to Level 3 + Level 4) + (W2 * distance from Splice #2 to Level 5) + (W3 * distance from Splice #2 to Level 6) ]  / distance between rigid frame columns     

    =  [74.8k * (7' + 21') +  (72.8k * 35') + (22.6k * 49')] / 24'       

    =  [ 2094.4ft-k + 2548.0ft-k  + 1107.4ft-k ] / 24'  = 239.6k   (due to 1.6W)

PDown = 2P1 + P2 + P3 + Axial force from wind overturning

PDown = 2(142.56k) + 129.0k + 41.7k + 239.6k  =  695.4k 

(Note: Pmin = .9PDown = 625.9k> 239.6k therefore No Uplift)

At this point assuming Mn = Mprelim

Using this Moment only Zrequired = (857.5ft-k  * 12”/ft) / (.9 * 50ksi) = 228.7 in3

Start with W24x146, A= 43.0 in2, I = 4580 in4, ry = 3.01”, rx = 10.3”, Z = 418 in3

Assuming the weak axis for buckling governs 

(to be check later)

Kl/r = (1 * 14' * 12”/ft) / 3.01” =  55.8       

Fe = (π2 * 29,000) / (55.8)2 = 91.9 ksi > .44*(50 ksi)=22.0 ksi    INELASTIC CAN NOT USE EULER

Fcr = (0.658 50/91.9) * 50 = (0.6580.54407) * 50
= 39.82 ksi 

LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

0.9 * 39.82 ksi * 43.0 in2 = 1541.0k              


    Check Required/Capacity
695.4k/ 1541.0k =   0.451   

Mu/ΦMn = (857.5ft-k * 12”/ft) / (.9 * 418 in3 * 50ksi) = 0.547       

(Not including P–Δ   0.451 + 0.442 = 0.998 < 1   OK!         

For Preliminary Design from Splice #2 to Splice #1 use W24x146, A= 43.0 in2, I = 4580 in4, ry = 3.01”, rx = 10.3”, Z = 418 in3

Splice #1 to Top (L4 – L5)

ML4 – L5 Columns = 333.9ft-k ; 

Forces at Splice #1 due to Wind =  [(W2 * distance from Splice #1 to Level 5) + (W3 * distance from Splice #1 to Level 6) ]  / distance between rigid frame columns     

    =  [(72.8k * 7') + (22.6k * 19')] / 24'       

    =  [ 551.6ft-k + 429.4ft-k ] / 24'  = 40.9k   (due to 1.6W)

PDown = P2 + P3 + Axial force from wind overturning

PDown = 129.0k + 41.7k + 40.9k  =  211.6k 

(Note: Pmin = .9PDown = 190.44k> 40.9k therefore No Uplift)

At this point assuming Mn = Mprelim

Using this Moment only Zrequired = (333.9ft-k  * 12”/ft) / (.9 * 50ksi) = 89.04 in3

Start with W24x76, A= 22.4 in2, I = 2100 in4, ry = 1.92”, rx = 9.69”, Z = 200 in3

Assuming the weak axis for buckling governs 

(to be check later)

Kl/r = (1 * 14' * 12”/ft) / 1.92” =  87.5       

Fe = (π2 * 29,000) / (87.5)2 = 37.38 ksi > .44*(50 ksi)=22.0 ksi    INELASTIC CAN NOT USE EULER

Fcr = (0.658 50/37.38) * 50 = (0.6581.3376) * 50
= 28.56 ksi 

LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

0.9 * 28.56 ksi * 22.4 in2 = 575.9k              


    Check Required/Capacity
211.6k/ 575.9k =   0.367   

Mu/ΦMn = (333.9ft-k * 12”/ft) / (.9 * 200 in3 * 50ksi) = 0.445       

(Not including P–Δ   0.367 + 0.445 = 0.812 < 1   OK!  

For Preliminary Design from Splice #1 to Top use W24x76, A= 22.4 in2, I = 2100 in4, ry = 1.92”, rx = 9.69”, Z = 200 in3 

Summary of Preliminary Design for computer model :

Computer Model – 18 nodes (joints), 25 members, 15 nodes loaded, none pin ended.

[image: image7.emf]3,750in-k

4,410in-k

I= 2100 in4

I= 2100 in4

I= 4580 in4

I= 4580 in4

I= 4580 in4

I= 7650 in4

SPLICE #2

SPLICE #1

I= 9200 in4

I= 6680 in4

I= 3220 in4

I= 1830 in4

I= 722 in4


Test the following use of beams and columns in the PLFNL2 program.

L6 Zrequired use 
W14x68, Z=115 in3, A= 20.0 in2 , I= 722 in4      

L5 Zrequired use 
W21x83, Z=196 in3, A= 24.3 in2, I=1830 in4     

L4 Zrequired use 
W21x132, Z=333 in3, A= 38.8 in2, I=3220 in4    

L3 Zrequired use 
W30x148, Z=500 in3, A= 43.5 in2, I=6680 in4       

L2 Zrequired use 
W30x191, Z=675 in3, A= 56.3 in2, I=9200 in4     

Splice #1 to top –  
W24x76, Z = 200 in3, A= 22.4 in2, I = 2100 in4

Splice #2 to Splice #1 --W24x146, Z = 418 in3, A=43.0 in2, I = 4580 in4

Base to Splice #1 –
 W24x229, Z = 675 in3, A= 67.2 in2, I = 7650 in4

In addition to the strength requirements limit the L6 lateral movement to height/150 due to factored loads, including P–Δ, 816” / 150 =  5.44”  Computer model calculated 4.77” on Joints 6, 12, & 18 O.K.

PLFNL2 OUTPUT:

          NUMBER OF JOINTS =   18

          NUMBER OF MEMBERS =   25

          NUMBER OF JOINTS WITH APPLIED LOAD(S) =   15

          MODULUS OF ELASTICITY =   0.290E+05

          NUMBER OF PIN END MEMBERS =    0  ( -1 INDICATES TRUSS)

          NPD=    1(1 MEANS CALCULATE P-DELTA EFFECTS)

                                        SPRING CONSTANTS

 JOINT       X           Y           SX         SY         SRZ

     1   0.0000E+00   0.0000E+00   0.100E+31   0.100E+31   0.100E+31

     2   0.0000E+00   0.1680E+03   0.000E+00   0.000E+00   0.000E+00

     3   0.0000E+00   0.3360E+03   0.000E+00   0.000E+00   0.000E+00

     4   0.0000E+00   0.5040E+03   0.000E+00   0.000E+00   0.000E+00

     5   0.0000E+00   0.6720E+03   0.000E+00   0.000E+00   0.000E+00

     6   0.0000E+00   0.8160E+03   0.000E+00   0.000E+00   0.000E+00

     7   0.2880E+03   0.0000E+00   0.100E+31   0.100E+31   0.100E+31

     8   0.2880E+03   0.1680E+03   0.000E+00   0.000E+00   0.000E+00

     9   0.2880E+03   0.3360E+03   0.000E+00   0.000E+00   0.000E+00

    10   0.2880E+03   0.5040E+03   0.000E+00   0.000E+00   0.000E+00

    11   0.2880E+03   0.6720E+03   0.000E+00   0.000E+00   0.000E+00

    12   0.2880E+03   0.8160E+03   0.000E+00   0.000E+00   0.000E+00

    13   0.4000E+03   0.0000E+00   0.100E+31   0.100E+31   0.000E+00

    14   0.4000E+03   0.1680E+03   0.000E+00   0.000E+00   0.000E+00

    15   0.4000E+03   0.3360E+03   0.000E+00   0.000E+00   0.000E+00

    16   0.4000E+03   0.5040E+03   0.000E+00   0.000E+00   0.000E+00

    17   0.4000E+03   0.6720E+03   0.000E+00   0.000E+00   0.000E+00

    18   0.4000E+03   0.8160E+03   0.000E+00   0.000E+00   0.000E+00

     MEMBER   J NODE    K NODE    AREA       INERTIA

         1         1         2   0.672E+02   0.765E+04

         2         2         3   0.430E+02   0.458E+04

         3         3         4   0.430E+02   0.458E+04

         4         4         5   0.224E+02   0.210E+04

         5         5         6   0.224E+02   0.210E+04

         6         7         8   0.672E+02   0.765E+04

         7         8         9   0.430E+02   0.458E+04

         8         9        10   0.430E+02   0.458E+04

         9        10        11   0.224E+02   0.210E+04

        10        11        12   0.224E+02   0.210E+04

        11         2         8   0.563E+02   0.920E+04

        12         3         9   0.435E+02   0.668E+04

        13         4        10   0.388E+02   0.322E+04

        14         5        11   0.243E+02   0.183E+04

        15         6        12   0.200E+02   0.722E+03

        16        13        14  -0.100E+03   0.100E+01

        17        14        15  -0.100E+03   0.100E+01

        18        15        16  -0.100E+03   0.100E+01

        19        16        17  -0.100E+03   0.100E+01

        20        17        18  -0.100E+03   0.100E+01

        21         8        14  -0.100E+03   0.100E+01

        22         9        15  -0.100E+03   0.100E+01

        23        10        16  -0.100E+03   0.100E+01

        24        11        17  -0.100E+03   0.100E+01

        25        12        18  -0.100E+03   0.100E+01

     MEMBER LOADS

  MEMBER   W AT J   W AT K   P1       D1       P2       D2       P3      D3

     JOINT      XFORCE    YFORCE      ZMOM

         2   0.748E+02  -0.143E+03   0.000E+00

         3   0.748E+02  -0.143E+03   0.000E+00

         4   0.748E+02  -0.143E+03   0.000E+00

         5   0.728E+02  -0.129E+03   0.000E+00

         6   0.226E+02  -0.417E+02   0.000E+00

         8   0.000E+00  -0.143E+03   0.000E+00

         9   0.000E+00  -0.143E+03   0.000E+00

        10   0.000E+00  -0.143E+03   0.000E+00

        11   0.000E+00  -0.129E+03   0.000E+00

        12   0.000E+00  -0.417E+02   0.000E+00

        14   0.000E+00  -0.983E+03   0.000E+00

        15   0.000E+00  -0.983E+03   0.000E+00

        16   0.000E+00  -0.983E+03   0.000E+00

        17   0.000E+00  -0.820E+03   0.000E+00

        18   0.000E+00  -0.147E+03   0.000E+00

     OUTPUT NOT INCLUDING P-DELTA EFFECTS

         JOINT DISPLACEMENTS AND REACTIONS

     JT  X DISPL   Y DISPL    Z ROT      X REACT    Y REACT    ZM REACT

     1  0.161D-27 -0.232D-27 -0.185D-25 -0.161E+03  0.232E+03  0.185E+05

     2  0.602D+00 -0.200D-01 -0.376D-02  0.000E+00  0.000E+00  0.000E+00

     3  0.168D+01 -0.502D-01 -0.475D-02  0.000E+00  0.000E+00  0.000E+00

     4  0.281D+01 -0.775D-01 -0.572D-02  0.000E+00  0.000E+00  0.000E+00

     5  0.401D+01 -0.111D+00 -0.481D-02  0.000E+00  0.000E+00  0.000E+00

     6  0.466D+01 -0.118D+00 -0.360D-02  0.000E+00  0.000E+00  0.000E+00

     7  0.159D-27 -0.967D-27 -0.183D-25 -0.159E+03  0.967E+03  0.183E+05

     8  0.596D+00 -0.834D-01 -0.372D-02  0.000E+00  0.000E+00  0.000E+00

     9  0.167D+01 -0.176D+00 -0.475D-02  0.000E+00  0.000E+00  0.000E+00

    10  0.280D+01 -0.233D+00 -0.570D-02  0.000E+00  0.000E+00  0.000E+00

    11  0.400D+01 -0.288D+00 -0.482D-02  0.000E+00  0.000E+00  0.000E+00

    12  0.465D+01 -0.299D+00 -0.368D-02  0.000E+00  0.000E+00  0.000E+00

    13  0.145D-32 -0.392D-26 -0.378D-02 -0.145E-02  0.392E+04  0.000E+00

    14  0.596D+00 -0.227D+00 -0.308D-02  0.000E+00  0.000E+00  0.000E+00

    15  0.167D+01 -0.397D+00 -0.473D-02  0.000E+00  0.000E+00  0.000E+00

    16  0.280D+01 -0.510D+00 -0.498D-02  0.000E+00  0.000E+00  0.000E+00

    17  0.400D+01 -0.566D+00 -0.446D-02  0.000E+00  0.000E+00  0.000E+00

    18  0.465D+01 -0.573D+00 -0.306D-02  0.000E+00  0.000E+00  0.000E+00

             MEMBER END ACTIONS

 MEMBER J   K     AX J     SHR J      MOM J        AX K     SHR K      MOM K

   1   1   2  0.232E+03  0.161E+03  0.185E+05 -0.232E+03 -0.161E+03  0.855E+04

   2   2   3  0.225E+03  0.122E+03  0.111E+05 -0.225E+03 -0.122E+03  0.949E+04

   3   3   4  0.202E+03  0.850E+02  0.791E+04 -0.202E+03 -0.850E+02  0.637E+04

   4   4   5  0.129E+03  0.480E+02  0.370E+04 -0.129E+03 -0.480E+02  0.436E+04

   5   5   6  0.326E+02  0.110E+02  0.278E+03 -0.326E+02 -0.110E+02  0.131E+04

   6   7   8  0.967E+03  0.159E+03  0.183E+05 -0.967E+03 -0.159E+03  0.843E+04

   7   8   9  0.689E+03  0.123E+03  0.111E+05 -0.689E+03 -0.123E+03  0.949E+04

   8   9  10  0.425E+03  0.852E+02  0.791E+04 -0.425E+03 -0.852E+02  0.640E+04

   9  10  11  0.212E+03  0.474E+02  0.366E+04 -0.212E+03 -0.474E+02  0.430E+04

  10  11  12  0.508E+02  0.116E+02  0.350E+03 -0.508E+02 -0.116E+02  0.132E+04

  11   2   8  0.363E+02 -0.136E+03 -0.196E+05 -0.363E+02  0.136E+03 -0.195E+05

  12   3   9  0.374E+02 -0.121E+03 -0.174E+05 -0.374E+02  0.121E+03 -0.174E+05

  13   4  10  0.378E+02 -0.699E+02 -0.101E+05 -0.378E+02  0.699E+02 -0.101E+05

  14   5  11  0.358E+02 -0.322E+02 -0.464E+04 -0.358E+02  0.322E+02 -0.465E+04

  15   6  12  0.116E+02 -0.911E+01 -0.131E+04 -0.116E+02  0.911E+01 -0.132E+04

  16  13  14  0.392E+04  0.145E-02  0.341E-15 -0.392E+04 -0.145E-02  0.244E+00

  17  14  15  0.293E+04  0.309E-01  0.288E+01 -0.293E+04 -0.309E-01  0.231E+01

  18  15  16  0.195E+04  0.232E-01  0.199E+01 -0.195E+04 -0.232E-01  0.190E+01

  19  16  17  0.967E+03  0.293E-01  0.237E+01 -0.967E+03 -0.293E-01  0.255E+01

  20  17  18  0.147E+03  0.138E-01  0.710E+00 -0.147E+03 -0.138E-01  0.127E+01

  21   8  14 -0.294E-01 -0.588E-01 -0.346E+01  0.294E-01  0.588E-01 -0.312E+01

  22   9  15  0.770E-02 -0.768E-01 -0.431E+01 -0.770E-02  0.768E-01 -0.430E+01

  23  10  16 -0.610E-02 -0.797E-01 -0.465E+01  0.610E-02  0.797E-01 -0.427E+01

  24  11  17  0.155E-01 -0.599E-01 -0.345E+01 -0.155E-01  0.599E-01 -0.326E+01

  25  12  18  0.138E-01 -0.256E-01 -0.159E+01 -0.138E-01  0.256E-01 -0.127E+01

         OUTPUT INCLUDING P-DELTA EFFECTS

     NUMBER OF CYCLES=    2

         JOINT DISPLACEMENTS AND REACTIONS

     JT  X DISPL   Y DISPL    Z ROT      X REACT    Y REACT    ZM REACT

     1  0.162D-27 -0.223D-27 -0.188D-25 -0.162E+03  0.223E+03  0.188E+05

     2  0.613D+00 -0.192D-01 -0.384D-02  0.000E+00  0.000E+00  0.000E+00

     3  0.172D+01 -0.487D-01 -0.487D-02  0.000E+00  0.000E+00  0.000E+00

     4  0.288D+01 -0.756D-01 -0.587D-02  0.000E+00  0.000E+00  0.000E+00

     5  0.411D+01 -0.109D+00 -0.493D-02  0.000E+00  0.000E+00  0.000E+00

     6  0.477D+01 -0.116D+00 -0.368D-02  0.000E+00  0.000E+00  0.000E+00

     7  0.157D-27 -0.976D-27 -0.185D-25 -0.157E+03  0.976E+03  0.185E+05

     8  0.607D+00 -0.841D-01 -0.380D-02  0.000E+00  0.000E+00  0.000E+00

     9  0.171D+01 -0.178D+00 -0.486D-02  0.000E+00  0.000E+00  0.000E+00

    10  0.287D+01 -0.235D+00 -0.585D-02  0.000E+00  0.000E+00  0.000E+00

    11  0.409D+01 -0.290D+00 -0.494D-02  0.000E+00  0.000E+00  0.000E+00

    12  0.477D+01 -0.302D+00 -0.376D-02  0.000E+00  0.000E+00  0.000E+00

    13  0.149D-32 -0.392D-26 -0.385D-02 -0.149E-02  0.392E+04  0.000E+00

    14  0.607D+00 -0.227D+00 -0.313D-02  0.000E+00  0.000E+00  0.000E+00

    15  0.171D+01 -0.397D+00 -0.482D-02  0.000E+00  0.000E+00  0.000E+00

    16  0.287D+01 -0.510D+00 -0.506D-02  0.000E+00  0.000E+00  0.000E+00

    17  0.409D+01 -0.566D+00 -0.453D-02  0.000E+00  0.000E+00  0.000E+00

    18  0.477D+01 -0.573D+00 -0.307D-02  0.000E+00  0.000E+00  0.000E+00

             MEMBER END ACTIONS

 MEMBER J   K     AX J     SHR J      MOM J        AX K     SHR K      MOM K

   1   1   2  0.223E+03  0.162E+03  0.188E+05 -0.223E+03 -0.162E+03  0.865E+04

   2   2   3  0.219E+03  0.124E+03  0.113E+05 -0.219E+03 -0.124E+03  0.972E+04

   3   3   4  0.200E+03  0.858E+02  0.811E+04 -0.200E+03 -0.858E+02  0.653E+04

   4   4   5  0.128E+03  0.483E+02  0.380E+04 -0.128E+03 -0.483E+02  0.448E+04

   5   5   6  0.324E+02  0.110E+02  0.277E+03 -0.324E+02 -0.110E+02  0.133E+04

   6   7   8  0.976E+03  0.157E+03  0.185E+05 -0.976E+03 -0.157E+03  0.855E+04

   7   8   9  0.694E+03  0.121E+03  0.114E+05 -0.694E+03 -0.121E+03  0.972E+04

   8   9  10  0.428E+03  0.844E+02  0.811E+04 -0.428E+03 -0.844E+02  0.656E+04

   9  10  11  0.213E+03  0.471E+02  0.375E+04 -0.213E+03 -0.471E+02  0.441E+04

  10  11  12  0.510E+02  0.115E+02  0.350E+03 -0.510E+02 -0.115E+02  0.135E+04

  11   2   8  0.364E+02 -0.139E+03 -0.200E+05 -0.364E+02  0.139E+03 -0.199E+05

  12   3   9  0.367E+02 -0.124E+03 -0.178E+05 -0.367E+02  0.124E+03 -0.178E+05

  13   4  10  0.374E+02 -0.717E+02 -0.103E+05 -0.374E+02  0.717E+02 -0.103E+05

  14   5  11  0.355E+02 -0.330E+02 -0.475E+04 -0.355E+02  0.330E+02 -0.476E+04

  15   6  12  0.116E+02 -0.931E+01 -0.133E+04 -0.116E+02  0.931E+01 -0.135E+04

  16  13  14  0.392E+04  0.149E-02  0.274E-15 -0.392E+04 -0.149E-02  0.251E+00

  17  14  15  0.293E+04  0.319E-01  0.297E+01 -0.293E+04 -0.319E-01  0.239E+01

  18  15  16  0.195E+04  0.242E-01  0.208E+01 -0.195E+04 -0.242E-01  0.199E+01

  19  16  17  0.967E+03  0.306E-01  0.247E+01 -0.967E+03 -0.306E-01  0.266E+01

  20  17  18  0.147E+03  0.148E-01  0.772E+00 -0.147E+03 -0.148E-01  0.136E+01

  21   8  14 -0.304E-01 -0.607E-01 -0.357E+01  0.304E-01  0.607E-01 -0.323E+01

  22   9  15  0.769E-02 -0.800E-01 -0.449E+01 -0.769E-02  0.800E-01 -0.447E+01

  23  10  16 -0.631E-02 -0.834E-01 -0.488E+01  0.631E-02  0.834E-01 -0.447E+01

  24  11  17  0.157E-01 -0.632E-01 -0.364E+01 -0.157E-01  0.632E-01 -0.343E+01

  25  12  18  0.148E-01 -0.275E-01 -0.172E+01 -0.148E-01  0.275E-01 -0.136E+01

Verify Preliminary Design using PLFNL2 P–Δ Output

Beam L6 (Member 15), W14x68, Z=115 in3, A= 20.0 in2 , I= 722 in4 , d=14.0”, tw= 0.415”    


Axial Force – 11.6k ©      σ = P/A = 11.6/20 = 0.58 ksi  negligible


Shear – 9.31k ; Check shear: LRFD (d * tw * ksi) > Vmax 



14” * 0.415” * 50 ksi = 290.5k > 9.31k 

Shear O.K.


Max Moment – 1350in-k = 112.5ft-k 



 ΦcZFy= .9 * 115 in3 * 50ksi = 5175in-k > 1350in-k    
Moment O.K.

Beam L5 (Member 14), W21x83, Z=196 in3, A= 24.3 in2, I=1830 in4, d=21.4”, tw= 0.515”         


Axial Force – 35.5k ©        σ = P/A = 35.5/ 24.3 = 1.46 ksi  negligible


Shear – 33k ; Check shear: LRFD (d * tw * ksi) > Vmax 



21.4” * 0.515” * 50 ksi = 551.0k > 33k 

Shear O.K.


Max Moment – 4760in-k = 396.7ft-k 



           ΦcZFy= .9 * 196 in3 * 50ksi = 8820in-k > 4760in-k    
Moment O.K.    

Beam L4 (Member 13), W21x132, Z=333 in3, A= 38.8 in2, I=3220 in4, d=21.8”, tw= 0.650”     


Axial Force – 37.4k ©        σ = P/A = 37.4/ 38.8 = 0.96 ksi  negligible


Shear – 71.7k ; Check shear: LRFD (d * tw * ksi) > Vmax 



21.8” * 0.650” * 50 ksi = 708.6k > 71.7k

Shear O.K.


Max Moment – 10,300in-k = 858.3ft-k 



           ΦcZFy= .9 * 333 in3 * 50ksi = 14,985in-k > 10,300in-k  Moment O.K.        

Beam L3 (Member 12), W30x148, Z=500 in3, A= 43.5 in2, I=6680 in4, d=30.7”, tw= 0.650”     


Axial Force – 36.7k ©        σ = P/A = 36.7/ 43.5 = 0.84 ksi  negligible


Shear – 124.0k ; Check shear: LRFD (d * tw * ksi) > Vmax 



30.7” * 0.650” * 50 ksi = 997.7k > 124k

Shear O.K.


Max Moment – 17,800in-k = 1,483.3ft-k 



           ΦcZFy= .9 * 500 in3 * 50ksi = 22,500in-k > 17,800in-k 
Moment O.K.        

Beam L2 (Member 11), W30x191, Z=675 in3, A= 56.3 in2, I=9200 in4, d=30.7”, tw= 0.710”     


Axial Force – 36.4k ©        σ = P/A = 36.4/ 56.3 = 0.65 ksi  negligible


Shear – 139.0k ; Check shear: LRFD (d * tw * ksi) > Vmax 



30.7” * 0.710” * 50 ksi = 1089.8k > 139k

Shear O.K.


Max Moment – 20,000in-k = 1,483.3ft-k 



           ΦcZFy= .9 * 675 in3 * 50ksi = 30,375in-k > 20,000in-k 
Moment O.K.        

NOTE:  Even though these calculations are substantially larger than required they actually support the lateral deflection @ 4.77” < 5.44” max

Verify Preliminary Column Design

Column Top to Splice #1(Members 4, 5, 9, 10); W24x76,  Z = 200 in3,  A= 22.4 in2,  Iin plane = 2100 in4, d=23.9”,  tw= 0.440”, rin plane = 9.69”, rout plane = 1.92”


Pu = Axial Force = 213k ©       σ = P/A = 213/ 22.4 = 9.51 ksi  


Shear = 48.3k ; Check shear: LRFD (d * tw * ksi) > Vmax 



22.4” * 0.440” * 50 ksi = 492.8k > 48.3k

Shear O.K.


Mu = Max Moment = 4,480in-k = 373.3ft-k 



           ΦcZFy= .9 * 200 in3 * 50ksi = 9,000in-k > 4,480in-k 
Moment O.K.        

Leaning Column Factor at L4 to L5

=  2(P2 + P3) + P6 + P5  =  2(129k + 41.7k) + 146.5k + 819.5k   = 341.4k + 966.0k)  =  3.83k  

         2(P2 + P3)

2(129k + 41.7k) 

341.4k 

[image: image8.emf]I= 2100 in4

I= 2100 in4

I= 4580 in4

I= 4580 in4

I= 4580 in4

I= 7650 in4

SPLICE #2

SPLICE #1

I= 9200 in4

I= 6680 in4

I= 3220 in4

I= 1830 in4

I= 722 in4

GIRDER B = Σ E I/L column /Σ E I/L beam = [2100/12 + 2100/14] / [1830/24]= 2.95         

GIRDER C = Σ E I/L column /Σ E I/L beam = [2100/14 + 4580/14] / [3220/24]= 3.56         

From Sidesway uninhibited nomograph, (AISC 16.1 – 242):  K= 1.9

K'inplane = K * √N = 1.9 * √3.83 = 3.7

Kl/r   out-of-plane =  (1.0 * 14' * 12”/1') / 1.92” = 87.5   

governs

K'l/r   in-plane    =  (3.7 * 14' * 12”/1') / 9.69” = 64.1   

Fe = (π2 * 29,000) / (87.5)2 = 37.38 ksi > .44*(50 ksi)=22 ksi
IN-ELASTIC

Fcr = (0.658 50/37.38) * 50 = (0.6581.3376) * 50
= 28.56 ksi 


LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

 0.9 * 28.56 ksi * 22.4 in2 = 575.9k      


  Pu/ΦPn = 213k © / 575.9k = 0.370 >  0.20

Lb = 14', 
Lp = 1.76 * rout plane * √E/Fy = 1.76 * 1.92 * √(29,000/50) = 81.38” (6.78')

AISC 16.1-46         

[image: image9.emf]I= 2100  in4

I= 2100  in4

I= 4580  in4

I= 4580  in4

I= 4580  in4

I= 7650  in4

SPLICE #2

SPLICE #1

I= 9200  in4

I= 6680  in4

I= 3220  in4

I= 1830  in4

I= 722  in4



= (12.5 * 4410) / ((2.5*4410) + (3*2370) + (4*330) + (3*3750))



= 55125/30705 = 1.79 < 3.0 

 (From Tbl 3-2) W24x76 = BFLRFD = 22.5k, ΦMp = 750ft-k  Lp = 6.78' (81.36”)

ΦMn = Cb[ΦMp – BFLRFD * (Lb – Lp)] < ΦMp 

  =  1.79[750ft-k –   22.5k(14' – 6.78')] = 1.79 * (587.55ft-k) = 1054.7 > 750ft-k ; therefore  ΦMn = ΦMp =750ft-k 

Pu/ΦPn + (8/9) * (Mu/ΦMn) = 0.370 + (8/9) * ( 373.3ft-k/ 750ft-k) = 0.370 + 0.4424 = 0.8124 < 1    O.K.        

Use W24x76 for top section of columns in rigid frame 

Column Splice #1 to Splice #2 (Members 2, 3, 7, 8); W24x146,  Z = 418 in3,  A=43.0 in2,  I = 4580 in4, d=24.7”,  tw= 0.650”, rin plane = 10.3”, rout plane = 3.01”


Pu = Axial Force = 694k ©       σ = P/A = 694/43 = 16.1 ksi  


Shear = 124k ; Check shear: LRFD (d * tw * ksi) > Vmax 



24.7” * 0.650” * 50 ksi = 802.8k > 124k

Shear O.K.


Mu = Max Moment = 11,400in-k = 950ft-k 



           ΦcZFy= .9 * 418 in3 * 50ksi = 18,810in-k > 4,480in-k 
Moment O.K.        

Leaning Column Factor at L2 to L3

=  2[(P2 + P3) + 3(P1)] + P6 + P5 + 3(P4)  =  2[(129k + 41.7k) + 3(143k)] + 146.5k + 819.5k + 3(983k)   =

         2[(P2 + P3) + 3(P1)]


2[(129k + 41.7k) + 3(143k)] 



 2[599.7k] + 3915.0k  =  5114.4k =  4.26k  

         2[599.7k] 
 1199.4k

[image: image10.emf]EAST/WEST GIRDER (NOT 

YET DESIGNED) 

BOLTS 

3

4

" A325-N

L4x3

1

2

 x

5

16

 

NORTH/SOUTH BEAMS PINN CONNECTION  TO 

EAST/WEST GIRDERS

8 BOLTS (MINIMUM) 

ASD 8 (10.6 

k

bolt

) = 84.8k > 29.0k

LRFD 8 (15.9 

k

bolt

) = 12k  >  41.2k


GIRDER D = Σ E I/L column /Σ E I/L beam = [4580/14 + 4580/14] / [6680/24]= 2.35           

GIRDER E = Σ E I/L column /Σ E I/L beam = [4580/14 + 7650/14] / [9200/24]= 2.28         

From Sidesway uninhibited nomograph, (AISC 16.1 – 242):  K= 1.7

K'inplane = K * √N = 1.7 * √4.26 = 3.51  

Kl/r   out-of-plane =  (1.0 * 14' * 12”/1') / 3.01” = 55.8   


K'l/r   in-plane    =  (3.51 * 14' * 12”/1') / 10.3” = 57.2   
governs

Fe = (π2 * 29,000) / (57.2)2 = 87.48 > .44 * (50 ksi)=22 ksi
IN-ELASTIC

Fcr = (0.658 50/87.48) * 50 = (0.6580.57156) * 50
= 39.36 ksi 


LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

 0.9 * 39.36 ksi * 43.0 in2 = 1523.3k      


  Pu/ΦPn = 694k © / 1523.3k = 0.4556 >  0.20

Lb = 14', 
Lp = 1.76 * rout plane * √E/Fy = 1.76 * 3.01 * √(29,000/50) = 127.58” (10.62')

AISC 16.1-46

[image: image11.png](12.5Mpmax)

e <3
25M,. +3M, +4Mz +3Mo)

Gy =





= (12.5 * 11,400) / ((2.5*11,400) + (3*4440) + (4*840) + (3*6120))



= 142,500/63,540 = 2.24 < 3.0 



 (From Tbl 3-2) W24x146 = BFLRFD = 25.8k, ΦMp = 1570ft-k  Lp = 10.6' (127.2”)

ΦMn = Cb[ΦMp – BFLRFD * (Lb – Lp)] < ΦMp 

        =  Cb [1570ft-k – 25.8k(14' – 10.6')] = 2.24 * (1482.28ft-k) = 3324 > 1570ft-k ; therefore  ΦMn = ΦMp = 1570ft-k 

Pu/ΦPn + (8/9) * (Mu/ΦMn) = 0. 494 + (8/9) * ( 950ft-k/ 1570ft-k) = 0.4556 + 0.5379 = 0.9935 < 1    O.K. 

Use W24x146 for middle section of columns in rigid frame 

Column Splice #2 to Base (Members 1, 6); W24x229, Z = 675 in3, A= 67.2 in2, I = 7650 in4, d=26.0”,  tw= 0.960”, rin plane = 10.7”, rout plane = 3.11”


Pu = Axial Force = 976k ©       σ = P/A = 976/67.2 = 14.5 ksi  


Shear = 162k ; Check shear: LRFD (d * tw * ksi) > Vmax 



26.0” * 0.960” * 50 ksi = 1248k > 162k

Shear O.K.


Mu = Max Moment = 18,800in-k = 1,566.7ft-k 



           ΦcZFy= .9 * 675 in3 * 50ksi = 30,375in-k > 18,800in-k 
Moment O.K.        


Fcr = (0.658 50/65.51) * 50 = (0.6580.7632) * 50
= 36.33 ksi 


LRFD Φc=0.90





Φc x Pn
(Pn = Fcr x Ag)

 

 0.9 * 36.33 ksi * 67.2 in2 = 2197.2k      


  Pu/ΦPn = 976k © / 2197.2k = 0.444 >  0.20

Lb = 14', 
Lp = 1.76 * rout plane * √E/Fy = 1.76 * 3.11 * √(29,000/50) = 131.8” (10.98')

AISC 16.1-46







= (12.5 * 18,800) / ((2.5*18,800) + (3*1787) + (4*5075) + (3*11937))



= 235,000/108472 = 2.17 < 3.0 


 (From Tbl 3-2) W24x229 = BFLRFD = 28.9k, ΦMp = 2530ft-k  Lp = 11.0'

ΦMn = Cb[ΦMp – BFLRFD * (Lb – Lp)] < ΦMp 

        =  2.17 [2530ft-k – 28.9k(14' – 11')] = 2.17*(2443.3ft-k) = 5293 > 2530ft-k ; therefore  ΦMn = ΦMp = 2530ft-k 

Pu/ΦPn + (8/9) * (Mu/ΦMn) = 0. 444 + (8/9) * ( 1567ft-k/ 2530ft-k) = 0.444 + 0.551 = 0.9945 < 1    O.K. 

Use W24x229 for bottom section of columns in rigid frame 
    Page|Page  8|

