## Sheet1
ITEM # | Description | Units | Expense | Estimate Amount Units |  | Extended Cost
Force Main
1 | Mobilization | LS | 25000 | 1 |  | 25000
2 | Metal Shed | LS | 27963 | 1 |  | 27963
3 | Electrical System for Service From Utility Company | LS | 38850 | 1 |  | 47513.55
4 | Electrical System for Lift Station | LS | 18900 | 1 |  | 23114.7
5 | Lift Station Centrifugal Pumps, Motors & Controls | Ea | 51612 | 1 |  | 51612
6 | Suction Piping and Collection Mechanism | Ea | 10000 | 2 |  | 20000
7 | Supply 6" SDR-11 Forcemain | Ft | 20 | 22000 |  | 440000
8 | Trench and install Forcemain | Ft | 20 | 18450 |  | 369000
9 | Boring/Drilling and Install Forcemain | Ft | 40 | 3550 |  | 142000
[5 empty] | SubTotal: | 1146203.25
10 | Parish Permit 2% for 1st $30k; then 0.5% remainder |  |  |  |  | 6181.0162
11 | Survey |  |  |  |  | 144300
[5 empty] | Force Main Grand Total: | 1296684.2663
[5 empty] | Total with 25% contingency: | 1620855.3328
Gravity Fed Sewer using Trenches & Boring Driveways
12 | Supply 8" SDR 35 Gravity Sewer | Ft | 25 | 1000 |  | 25000
13 | Supply 12" SDR 35 Gravity Sewer | Ft | 62 | 4800 |  | 297600
14 | Trench and install SDR-35 Sewer Pipe | Ft | 35 | 5350 |  | 187250
15 | Boring/Drilling and Install 12" SDR-35 Gravity Sewer | Ft | 60 | 450 |  | 27000
16 | Sewer Manholes & Appurtenances Installed | EA | 8700 | 17 |  | 147900
17 | Electrical System for Service From Utility Company | LS | 2500 | 1 |  | 2500
18 | Controller for Lift Station | LS | 2500 | 1 |  | 2500
19 | Wet Well and Associated piping | EA | 6115 | 1 |  | 6115
20 | In-Well Grinder Pumps & Controller | EA | 7525 | 2 |  | 15050
21 | Fencing around liftstation | EA | 4500 | 1 |  | 4500
[5 empty] | SubTotal: | 715415
22 | Parish Permit 2% for 1st $30k; then 0.5% remainder |  |  |  |  | 4027.075
[5 empty] | Gravity Sewer Grand Total: | 719442.075
[5 empty] | Total with 25% contingency: | 899302.5938
Note : This does not include any property purchase to install the lift station

## Sheet2
Minimum Velocity should be 6 fps
Using a 4" HDPE Pipe
Flow gpm | Velociy fps | Loss/100ft | Length of Run ft | Ft HeadLoss
300 | 7.6 | 6.1 | 22176 | 1352.736
600 | 6.7 | 3.1 | 22176 | 687.456