NORTH OAKS MEDICAL CENTER

15790 PAUL VEGA MD DR.

HAMMOND, LA 70403

IDN-ACME, INC.

1504 Justin Rd,

Metairie, LA 70433

W. WAYNE HILLIARD, A.H.C.

whilliard@idnacme.com

504-905-8075 (CELL)

REHABILITAION AND SPORTS PERFORMANCE CENTER

ACCESS CONTROL

1530 SW RAILROAD AVE.

HAMMOND, LA 70403

September 15, 2025

Access Control

North Oaks Hospital 				9/15/2025

REHABILITAIOBN AND SPORTS PERFORMANCE CENTER

All hardware supplied and installed by others will have the wires terminated to Junction Box above each door frame header.

FIRST FLOOR

DATA EQUIPMENT RM. 125

Avigilon:

Access Control – Controllers and Power Supplies

3 each	AC-LSP-16DR-MER-LCK	Power Supply

2 each	AC-MER-CONT-MP1502	Access Controller

13 each	AC-MER-CON-MR52-S3B 	Door Controller

2 each 	AC-MER-CON-MR16OUT	Elevator Controllers

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

STOREROOM – SOILD RM. 110a, 110b, 111a, 111b

4 each 	HID Readers 40NKS 00 000000

4 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

EQUIPMENT – 112

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

STAIR FROM HALL 136a

STAIR FROM WAREHOUSE 136b

BACK DOOR FROM WAREHOUSE 150

LOADING DOCK FROM STAIR 153c

VESTIBULE FROM STAIR 156

5 each 	HID Readers 40NKS 00 000000

5 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X KMPSS X EL-12

RIM EXIT DEVICE 		ED5200A X TH957ET CT6D M92 MERL

DOOR POSITION SWITCH 	DPS-W-BK

WIRING HARNESS 		QC-CO12P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD1

EXTERIOR FROM BALANCE & NEURO GYM 138b

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X TH957ET CT6D M92 MERL

DOOR POSITION SWITCH 	DPS-W-BK

WIRING HARNESS 		QC-CO12P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD1

HALL TO FILE STORAGE – 157a

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

HALL FROM BALANCE & NEURO GYM 138c

HALL FROM MAIN GYM 144

2 each 	HID Readers 40NKS 00 000000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

MECHANICAL FROM ELECTRICAL 123

BALANCE & NEURO GYM FROM EQUIPMENT 143

2 each 	HID Readers 40NKS 00 000000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

VESTIBULE TO HOUSEKEEPING 126

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

HALL TO HOUSEKEEPING 149

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

EXTERIOR FROM VESTIBULE 124a

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

RIM EXIT DEVICE 		ED5200A X TH957ET CT6D M92 MERL

DOOR POSITION SWITCH 	DPS-M-BK

WIRING HARNESS 		QC-CO12P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD1

Elevators 106

2 each 	HID Readers 40NKS 00 000000

SECONDE FLOOR

HALL TO HOUSEKEEPING 204

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

PEDS WAITING FROM PEDS GYM 206

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

PEDS GYM FROM PEDS RR 207

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

EXTERIOR FROM PEDS GYM 210

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X L9905ET CT6D D W048

DOOR POSITION SWITCH 	DPS-W-BK

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C012P

POWER SUPPLY 		AQD1

PEDS GYM TO EQUIPMENT 221

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

HALL FROM PEDS GYM 233

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X L9905ET CT6D D

DOOR POSITION SWITCH 	DPS-M-BK

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C012P

POWER SUPPLY 		AQD1

Semi restricted Corridor 230a	7’4” x 7’0”

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	630 HG-305 X KMPSS X EL-12 X 83.125 OA

EXIT DEVICE 			ED5470B X DEVICE ONLY X M92 X W048 X M55 X MELR SVR 630

ELECTROMAGNETIC LOCK M680EBD 628

AUTO OPERATOR AUTOMATIC OPERATOR

DOOR POSITION SWITCH 	BK DPS-M-BK

ACTUATOR 			700

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD2

ENVIR. SERVICE 237	4’0” x 7’0”

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE	HG-305 X KMPSS X 83.125 OA

MORTISE LOCK 		ML2057 - LWA X CT7R 626

ELECTRIC STRIKE 		1006CAS-12/24D-630

DOOR POSITION SWITCH 	BK DPS-M-BK

WIRING HARNESS 		QC-C1500P

POWER SUPPLY 		AQD1

CONSULT 238b	3’0” x 7’0”

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CAS 12/24D 630

DOOR POSITION SWITCH	DPS M BK

WIRE HARNESS		QC C1500P

POWER SUPPLY		AQD1

HALL TO HALL 240

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

Corridor 252	7’4” x 7’0”

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	630 HG-305 X KMPSS X EL-12 X 83.125 OA

EXIT DEVICE 			ED5470B X DEVICE ONLY X M92 X W048 X M55 X MELR SVR 630

ELECTROMAGNETIC LOCK M680EBD 628

AUTO OPERATOR AUTOMATIC OPERATOR

DOOR POSITION SWITCH 	BK DPS-M-BK

ACTUATOR 			700

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD2

EXTERIOR FROM HALL 271

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X L9905ET CT6D D

DOOR POSITION SWITCH 	DPS-M-BK

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C012P

POWER SUPPLY 		AQD1