1530 SW RAILROAD AVE.

HAMMOND, LA 70403

September 15, 2025

REVISED: October 16, 2025

ACCESS CONTROL

REHABILITAION AND SPORTS PERFORMANCE CENTER

IDN-ACME, INC.

1504 Justin Rd,

Metairie, LA 70433

W. WAYNE HILLIARD, A.H.C.

whilliard@idnacme.com

504-905-8075 (CELL)

NORTH OAKS MEDICAL CENTER

15790 PAUL VEGA MD DR.

HAMMOND, LA 70403

Access Control

North Oaks Hospital 				9/15/2025

REHABILITAIOBN AND SPORTS PERFORMANCE CENTER

All hardware supplied and installed by others will have the wires terminated to Junction Box above each door frame header.

FIRST FLOOR

DATA EQUIPMENT RM. 125

Avigilon:

Access Control – Controllers and Power Supplies

3 each	AC-LSP-16DR-MER-LCK	Power Supply

2 each	AC-MER-CONT-MP1502	Access Controller

13 each	AC-MER-CON-MR52-S3B 	Door Controller

2 each 	AC-MER-CON-MR16OUT	Elevator Controllers

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

STOREROOM – SOILD RM. 110a, 110b, 111a, 111b

4 each 	HID Readers 40NKS 00 000000

4 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

EQUIPMENT – 112

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

STAIR FROM HALL 136a

STAIR FROM WAREHOUSE 136b

LOADING DOCK FROM STAIR 153c

VESTIBULE FROM STAIR 156

4 each 	HID Readers 40NKS 00 000000

4 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X KMPSS X EL-12

RIM EXIT DEVICE 		ED5200A X TH957ET CT6D M92 MERL

DOOR POSITION SWITCH 	DPS-W-BK

WIRING HARNESS 		QC-CO12P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD1

EXTERIOR FROM BALANCE & NEURO GYM 138b

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X TH957ET CT6D M92 MERL

DOOR POSITION SWITCH 	DPS-W-BK

WIRING HARNESS 		QC-CO12P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD1

HALL TO FILE STORAGE – 157a

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

HALL FROM BALANCE & NEURO GYM 138c

HALL FROM MAIN GYM 144

2 each 	HID Readers 40NKS 00 000000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

BALANCE & NEURO GYM FROM EQUIPMENT 143

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-W-BK/GR

POWER SUPPLY 		AQD1

VESTIBULE TO HOUSEKEEPING 126

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

HALL TO HOUSEKEEPING 149

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

EXTERIOR FROM VESTIBULE 124a

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

RIM EXIT DEVICE 		ED5200A X TH957ET CT6D M92 MERL

DOOR POSITION SWITCH 	DPS-M-BK

WIRING HARNESS 		QC-CO12P

WIRING HARNESS 		QC-C006P

POWER SUPPLY 		AQD1

Elevators 106

2 each 	HID Readers 40NKS 00 000000

1 each

SECOND FLOOR

HALL TO HOUSE KEEPING 204

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

PEDS WAITING FROM PEDS GYM 206

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

EXTERIOR FROM PEDS GYM 210

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X L9905ET CT6D D W048

DOOR POSITION SWITCH 	DPS-W-BK

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C012P

POWER SUPPLY 		AQD1

PEDS GYM TO EQUIPMENT 221

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

HALL FROM PEDS GYM 233

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X L9905ET CT6D D

DOOR POSITION SWITCH 	DPS-M-BK

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C012P

POWER SUPPLY 		AQD1

HALL TO HALL 240

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

ELECTRIC STRIKE		1006CLB

WIRING HARNESS 		QC-C1500P

DOOR POSITION SWITCH 	DPS-M-BK

POWER SUPPLY 		AQD1

EXTERIOR FROM HALL 271

1 each 	HID Readers 40NKS 00 000000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

CONTINUOUS HINGE 	HG-305 X 7’0” X EL-12

RIM EXIT DEVICE 		ED5200A X L9905ET CT6D D

DOOR POSITION SWITCH 	DPS-M-BK

WIRING HARNESS 		QC-C1500P

WIRING HARNESS 		QC-C012P

POWER SUPPLY 		AQD1