Data Room Cafeteria

1 each	V1000 Control Panel HID

5 each 	V100 Reader Control Panels HID

2 each	AQM20-16C 20amp Power Supply

4 each 	Battery Back Up

Door 1X100B	Existing Corridor from Dining Room RHR

1 each 	R10 Mullion Reader

Door  1X101A	Existing Dock from Cafeteria RHR

1 each 	R40 Prox Reader

1 each 	DPS Door Position Switch

1 each	R2E-100 Motion Sensor

Door 1X109	Kitchen from Existing Dry Storage RHR/ Active

1 each 	R40 Prox Reader

Door 1X117	Existing Corridor from Closet 1X117 LHR

Door 1X118	Existing Corridor from Soiled Linen LHR

Door 1X119	Existing Corridor from Clean Linen LHR

3 each	R40 Prox Reader

Door EST-9-1	Passageway from Existing Stair 9 RHR

1 each 	R40 Prox Reader

1 each 	DPS Door Position Switch

1 each	R2E-100 Motion Sensor

Door 1X120A	Passageway from Cafeteria RHR

1 each 	R40 Prox Reader

Data Room Emergency Department 1E207

1 each 		V1000 Control Panel HID

26 each		V100 Reader Control HID

6 each		AQM20-16C 20amp Power Supply

12 each 	Battery Back up

Door TX114	Corridor 1X104 from Corridor TX114 RHR

1 each	R40 Prox Reader

Door 1E103	Corridor 1E270 from U.C. Waiting 1E103 Sliding Door

1 each R10 Mullion Reader

Door 1E103A	Alcove 1E125A to U. C. Waiting 1E103 RHR/ Active

1 each	R40 Prox Reader

Door 1E105	Corridor 1E133 to ED Office (Shell) LH

1 each	R40 Prox Reader

Door 1E108	Corridor 1E133 to Services LHR

1 each	R40 Prox Reader

Door 1E126	Corridor 1E133 to/From Corridor 1E126 Double Egress (Read In / Read Out)

2 each	R40 Prox Reader

Door 1E141A	Nurses’ Station 1E161 from Treatment 1E141 LHR

Door 1E142A	Nurses’ Station 1E161 from Treatment 1E142A LHR

Door 1E143A	Nurses’ Station 1E161 from Treatment 1E143A LHR

Door 1E144A	Nurses’ Station 1E161 from Treatment 1E144A LHR

4 each 	R40 Prox Reader

Door 1E146	Corridor 1105 to Environmental 1E146 LH

1 each	R40 Prox Reader

Door 1E171	Corridor 1E133 from Corridor 1E171	RHR/ Active

1 each	R40 Prox Reader

Door 1E167	Corridor 1E133 to/from Corridor 1E167 Double Egress (Read In / Read Out)

2 each 	R40 Prox Readers

Door 1E179	Corridor 1E133 from Corridor 1E179 RHR/Active

1 each	R40 Prox Reader

Door 1E200	Vestibule 1E200 from Corridor 1E201 Sliding Door

1 each	R40 Prox Reader

Door 1E202A	Corridor 1E201 to Equipment 1E200 RH

Door 1E202B	Corridor 1E201 to Equipment 1E200 LH

2 each	R40 Prox Reader

Door 1E203	Corridor 1E145 to Staff Lounge 1E203 LH

Door 1E204A	Corridor 1E145 to Clean Utility 1E204 LH

Door 1E204B 	Nourishment1E218A to Clean Utility RH

Door 1E205A	Corridor 1E145 to Soiled Utility 1E205 LH

Door 1E205B	Corridor 1E215 to Soiled Utility 1E205 RH

Door 1E207	Corridor 1E201 to Data 1E207 LH

6 each 	R40 Prox Reader

Door 1E221A	Corridor 1E236 to/from Corridor 1E221A Double Egress (Read In / Read Out)

2 each 	R40 Prox Reader

Door 1E239	Volunteer 1E266 to Triage Corridor 1E239 RH (Read in / Read Out)

2 each 	R40 Prox Reader

Door 1E240	Triage Wait from Triage Corridor 1E240 RHR

1 each	R40 Prox Reader

Door 1E257	Vestibule 1E257 from Lobby Wait 1E259 Sliding Door

1 each	R40 Prox Reader

Door 1E270	Corridor 1E270 to/from Corridor 1E271 Double Egress (Read In / Read Out)

Door 1E270A	Corridor 1E270 to/from Corridor 1E271 Double Egress (Read In / Read Out)

4 each	R40 Prox Reader

Door 1E120	Corridor 1E125 to Soiled Holding 1E120 LH

Door 1E128	Dictation Alcove to Supplies 1E128 RH

2 each	R40 Prox Reader

Door 1E131A	On Call 1E131 from TLT 1E131A RHR

Door 1E132	Corridor 1E133 to Services 1E132 RH

2 each	R40 Prox Reader

Door 1E133	Corridor 1E133 to/from Temp. Corridor TX104A Double Egress (Read In / Read Out)

2 each	R40 Prox Reader

Door 1E159	Staff Lounge from TLT 1E159 RHR

Door 1E163	Corridor 1E167 to Clean Supplies 1E167 Rh

Door 1E164	Corridor 1E167 to Equipment 1E164 LH

Door 1E165	Corridor 1E167 to Soiled Workroom 1E165 LH

Door 1E172	Corridor 1E171 to Clean Supply 1E172 RH

Door 1E174	Corridor 1E175 from Secure Holding 1E174 RHR

6 each	R40 Prox Reader

Door 1E170	Corridor 1105 to/from. Corridor 1009 Double Egress (Read In / Read Out)

Door 1E175	Corridor 1E175 to/from Elev. Lobby X106 Double Egress (Read In / Read Out)

4 each 	R40 Prox Reader