ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1

FIRE STATION #10

2745 LAKESHORE VISTA BLVD

SLIDELL, LA 70461


Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA
SECTION 088000
GLAZING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes glazing for the following products and applications, including those specified in other Sections where glazing requirements are specified by reference to this Section:
Adjust list below to suit Project.
1. Windows.

2. Storefront framing.

1.3 DEFINITIONS

A. Manufacturers of Glass Products:  Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.
ASTM C 1036 also includes traditional thickness designations in IP units, but all thicknesses in this Section are expressed in millimeters.
B. Glass Thicknesses:  Indicated by thickness designations in millimeters according to ASTM C 1036.
Delete definitions below if not applicable to products retained for Project.
C. Interspace:  Space between lites of an insulating-glass unit that contains dehydrated air or a specified gas.

D. Deterioration of Coated Glass:  Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning coated glass contrary to manufacturer's written instructions.  Defects include peeling, cracking, and other indications of deterioration in metallic coating.

E. Deterioration of Insulating Glass:  Failure of hermetic seal under normal use that is attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning insulating glass contrary to manufacturer's written instructions.  Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.

F. Deterioration of Laminated Glass:  Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning laminated glass contrary to manufacturer's written instructions.  Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.

1.4 PERFORMANCE REQUIREMENTS

A. General:  Provide glazing systems capable of withstanding normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following:  defective manufacture, fabrication, and installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.
First paragraph and subparagraphs below assume glass thicknesses are indicated on Drawings or in Part 2 where glass units are specified.  If not, revise accordingly.
B. Glass Design:  Glass thickness designations indicated are minimums and are for detailing only.  Confirm glass thicknesses by analyzing Project loads and in-service conditions.  Provide glass lites in the thickness designations indicated for various size openings, but not less than thicknesses and in strengths (annealed or heat treated) required to meet or exceed the following criteria:

1. Glass Thicknesses:  Select minimum glass thicknesses to comply with ASTM E 1300, according to the following requirements:
Retain one of three subparagraphs below specifying design wind loads.

See Editing Instruction No. 2 in the Evaluations before retaining one of two subparagraphs above or subparagraph and associated subparagraphs below.  If retaining one subparagraph above, design wind loads must be indicated either here or, preferably, on Drawings if multiple loads apply.  If retaining below, basic wind speed, importance factor, and exposure category applicable to Project must be indicated either here or, preferably, on Drawings.
a. Design Wind Loads:  Determine design wind loads applicable to Project from basic wind speed indicated in miles per hour at 33 feet above grade, according to ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 6.5, "Method 2-Analytical Procedure," based on mean roof heights above grade indicated on Drawings.
Delete three subparagraphs below if information is indicated on Drawings.  Other effects may need to be included such as topographic factor and gust effect factor as well as enclosure classification(s).
1) See Project information sheet.
Retain subparagraph below if sloped glazing is exposed to snow loads.  If retaining, insert snow loads here or, if multiple loads apply, on Drawings.
Probability of breakage value specified in subparagraph below is based on a design factor of 2.5 and is the basis for load charts for loads of 60-second duration in the 2000 edition of ASTM E 1300.  A revision of ASTM E 1300 is under way that would change the duration to 3 seconds to make it consistent with the 1998 edition of ASCE 7.  Revise if other values and durations are required for Project.
b. Probability of Breakage for Vertical Glazing:  8 lites per 1000 for lites set vertically or not more than 15 degrees off vertical and under wind action.
Deflection requirements in first subparagraph below are examples only and apply only to glass supported on all four edges.  Revise to suit Project.  See Evaluations.
c. Maximum Lateral Deflection:  For the following types of glass supported on all 4 edges, provide thickness required that limits center deflection at design wind pressure to 1/50 times the short side length or 1 inch, whichever is less.

1) For monolithic-glass lites heat treated to resist wind loads.

2) For insulating glass.

3) For laminated-glass lites.
Delete subparagraph below if glass thicknesses for each kind of glass are indicated comprehensively on Drawings or in Part 2 articles where glass units are specified and there is no need to specify a default thickness.  If retaining, revise if a different minimum thickness is required.
d. Minimum Glass Thickness for Exterior Lites:  Not less than 6.0 mm.
Revise subparagraph below if varying thicknesses of tinted and heat-absorbing glass are required for specific locations.
e. Thickness of Tinted and Heat-Absorbing Glass:  Provide the same thickness for each tint color indicated throughout Project.

C. Thermal Movements:  Provide glazing that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures acting on glass framing members and glazing components.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.
Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.
1. Temperature Change (Range):  120 deg F, ambient; 180 deg F, material surfaces.

D. Thermal and Optical Performance Properties:  Provide glass with performance properties specified based on manufacturer's published test data, as determined according to procedures indicated below:
Retain subparagraph below if Part 2 "Monolithic Float-Glass Units" Article is retained and thermal and optical performance properties are specified.  If more than one thickness is required, indicate on Drawings or in referenced article.
1. For monolithic-glass lites, properties are based on units with lites 6.0 mm thick.
Retain subparagraph below if Part 2 "Laminated-Glass Units" Article is retained and thermal and optical performance properties are specified.
2. For laminated-glass lites, properties are based on products of construction indicated.
Retain first subparagraph below if insulating-glass units are specified in Part 2 and thermal and optical performance properties are specified.
3. For insulating-glass units, properties are based on units of thickness indicated for overall unit and for each lite.

4. Center-of-Glass Values:  Based on using LBL-44789 WINDOW 5.0 computer program for the following methodologies:
Revise referenced methods in subparagraphs below to coordinate with performance values for fenestration specified in Sections that reference this Section for specifying glass.
a. U-Factors:  NFRC 100 expressed as Btu/ sq. ft. x h x deg F.
b. Solar Heat Gain Coefficient:  NFRC 200.

c. Solar Optical Properties:  NFRC 300.

1.5 SUBMITTALS

A. Product Data:  For each glass product and glazing material indicated.
Generally retain paragraph and subparagraph below unless types of glass selected do not require labeling by authorities having jurisdiction or if certification is required as well as labels.  See Evaluations.
B. Product Certificates:  Signed by manufacturers of glass and glazing products certifying that products furnished comply with requirements.

1. For solar-control low-e-coated glass, provide documentation demonstrating that manufacturer of coated glass is certified by coating manufacturer.
Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.
C. Qualification Data:  For installers.
Delete first paragraph below if no glazing sealants are specified for installing insulating or laminated glass, or if neither of these glass types are specified.
D. Preconstruction Adhesion and Compatibility Test Report:  From glazing sealant manufacturer indicating glazing sealants were tested for adhesion to glass and glazing channel substrates and for compatibility with glass and other glazing materials.

E. Warranties:  Special warranties specified in this Section.

1.6 QUALITY ASSURANCE
If retaining paragraph below, verify with prospective installers that they can comply with glass installer certification requirements referenced below.
A. Installer Qualifications:  An experienced installer who has completed glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in glass installations with a record of successful in-service performance; and who employs glass installers for this Project who are certified under the National Glass Association's Certified Glass Installer Program.
Retain paragraph below if clear float glass specified in Part 2 is ultra-clear (low-iron) float glass, which has higher visible light transmittance than commercial float glass.
B. Source Limitations for Glass:  Obtain the following through one source from a single manufacturer for each glass type:  glass-clad polycarbonate and insulating glass.
Retain first paragraph below if glazing units retained in Part 2 are those specified with a sputtered solar-control low-e coating and products listed are those of a manufacturer with a certified fabricator program.  At the time this Section was updated, only Cardinal IG, Guardian Industries, and PPG Industries had certified fabricator programs for selected solar-control low-e coatings.
C. Source Limitations for Glazing Accessories:  Obtain glazing accessories through one source from a single manufacturer for each product and installation method indicated.
If retaining first paragraph and subparagraphs below, also retain "Product Test Reports" Paragraph in "Submittals" Article.
D. Glass Product Testing:  Obtain glass test results for product test reports in "Submittals" Article from a qualified testing agency based on testing glass products.

1. Glass Testing Agency Qualifications:  An independent testing agency with the experience and capability to conduct the testing indicated, as documented according to ASTM E 548.
Delete subparagraph above or below.  Retain below only if it is known that glass products specified have been tested by NFRC-accredited testing agencies.
2. Glass Testing Agency Qualifications:  An independent testing agency accredited according to the NFRC CAP 1 Certification Agency Program.

E. Elastomeric Glazing Sealant Product Testing:  Obtain sealant test results for product test reports in "Submittals" Article from a qualified testing agency based on testing current sealant formulations within a 36-month period.

1. Sealant Testing Agency Qualifications:  An independent testing agency qualified according to ASTM C 1021 to conduct the testing indicated, as documented according to ASTM E 548.

2. Test elastomeric glazing sealants for compliance with requirements specified by reference to ASTM C 920, and where applicable, to other standard test methods.
Delete testing requirements in first paragraph and subparagraphs below if no elastomeric glazing sealants are specified for Project.  Adhesion and compatibility testing is essential and usually done by sealant manufacturer.  Tests require large number of Samples, and some tests require four weeks to complete.  If retaining below, also retain "Preconstruction Adhesion and Compatibility Test Report" Paragraph in "Submittals" Article.
F. Preconstruction Adhesion and Compatibility Testing:  Submit to elastomeric glazing sealant manufacturers, for testing indicated below, samples of each glazing material type, tape sealant, gasket, glazing accessory, and glass-framing member that will contact or affect elastomeric glazing sealants:

1. Use ASTM C 1087 to determine whether priming and other specific joint preparation techniques are required to obtain rapid, optimum adhesion of glazing sealants to glass, tape sealants, gaskets, and glazing channel substrates.

2. Schedule sufficient time for testing and analyzing results to prevent delaying the Work.

3. For materials failing tests, obtain sealant manufacturer's written instructions for corrective measures, including the use of specially formulated primers.
Delete subparagraph below if testing is required.
4. Testing will not be required if elastomeric glazing sealant manufacturers submit data based on previous testing of current sealant products for adhesion to, and compatibility with, glazing materials matching those submitted.

G. Glazing for Fire-Rated Door Assemblies:  Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on testing according to NFPA 252, where applicable.
Retain paragraph above for doors and paragraph below for windows if wired glass or another fire-resistive glazing product is specified in Part 2.
H. Glazing for Fire-Rated Window Assemblies:  Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 257, where applicable.
In Part 2 articles where glass units are specified, retain applicable requirements for monolithic-, laminated-, and insulating-glass units that are consistent with requirements specified below for safety glass.
I. Safety Glazing Products:  Comply with testing requirements in 16 CFR 1201 and, for wired glass, ANSI Z97.1.
Delete subparagraph below if not applicable.  Not all manufacturers participate in third-party testing programs.
1. Subject to compliance with requirements, obtain safety glazing products permanently marked with certification label of the Safety Glazing Certification Council or another certification agency acceptable to authorities having jurisdiction.
Lites more than 9 sq. ft. (0.84 sq. m) in area and lites of any area in certain hazardous locations such as sliding glass doors, doors and enclosures for bathtubs, showers, hot tubs, whirlpools, saunas, and steam rooms are required to be Category II materials.
2. Where glazing units, including Kind FT glass and laminated glass, are specified in Part 2 articles for glazing lites more than 9 sq. ft. in exposed surface area of one side, provide glazing products that comply with Category II materials, for lites 9 sq. ft. or less in exposed surface area of one side, provide glazing products that comply with Category I or II materials, except for hazardous locations where Category II materials are required by 16 CFR 1201 and regulations of authorities having jurisdiction.
Delete paragraph and subparagraphs below if no insulating glass.  Not all manufacturers participate in program; refer to directories of certifying organizations for participants.
J. Insulating-Glass Certification Program:  Permanently marked either on spacers or on at least one component lite of units with appropriate certification label of the following testing and inspecting agency:

1. Insulating Glass Certification Council.
Retain subparagraph above with or without subparagraph below.  Participants in agency program below are primarily manufacturers of windows and doors.  Verify that types of units required are certified.
2. Associated Laboratories, Inc.
Delete paragraph and subparagraphs below if not required.  Revise if specific requirements for mockups are indicated on Drawings or if glazing is part of larger mockups specified in other Sections.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference or if glazing for the most part will be performed in the shop.  If retaining, coordinate with Division 01.
K. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.7 DELIVERY, STORAGE, AND HANDLING

A. Protect glazing materials according to manufacturer's written instructions and as needed to prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.
Delete paragraph below if no insulating glass or if no exposure to altitude changes.  Retain if there is a reasonable possibility that insulating glass might be air-freighted to Project site.
B. For insulating-glass units that will be exposed to substantial altitude changes, comply with insulating-glass manufacturer's written recommendations for venting and sealing to avoid hermetic seal ruptures.

1.8 PROJECT CONDITIONS

A. Environmental Limitations:  Do not proceed with glazing when ambient and substrate temperature conditions are outside limits permitted by glazing material manufacturers and when glazing channel substrates are wet from rain, frost, condensation, or other causes.
Delete subparagraph below if no liquid sealants are required or if requirements listed above are adequate.  Revise if another temperature range is required.
1. Do not install liquid glazing sealants when ambient and substrate temperature conditions are outside limits permitted by glazing sealant manufacturer or below 40 deg F .

1.9 WARRANTY
When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

Paragraphs and subparagraphs in this Article are examples only.  Verify available warranties and length of warranty period with manufacturers selected.  See Evaluations.
A. Manufacturer's Special Warranty for Coated-Glass Products:  Manufacturer's standard form, made out to Owner and signed by coated-glass manufacturer agreeing to replace coated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.
Revise subparagraph below, and subsequent subparagraphs specifying warranty periods, if glass manufacturers selected insist on warranty beginning on date of manufacture.
1. Warranty Period:  10 years from date of Substantial Completion.

B. Manufacturer's Special Warranty on Laminated Glass:  Manufacturer's standard form, made out to Owner and signed by laminated-glass manufacturer agreeing to replace laminated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

1. Warranty Period:  5 years from date of Substantial Completion.

C. Manufacturer's Special Warranty on Insulating Glass:  Manufacturer's standard form, made out to Owner and signed by insulating-glass manufacturer agreeing to replace insulating-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

1. Warranty Period:  10 years from date of Substantial Completion.
Possibly insert glazier's warranty covering labor to replace insulating-glass units or, as an alternative, a maintenance contract that incorporates unit prices for replacement labor.
PART 2 -  PRODUCTS

2.1 GLASS PRODUCTS
See Editing Instruction No. 3 in the Evaluations about editing this Article with other Part 2 articles in which glass units are specified.
A. Annealed Float Glass:  ASTM C 1036, Type I (transparent flat glass), Quality-Q3; of class indicated.

1. Low-E Float Glass:  Class I (clear); with a minimum 36 percent visible light transmission and a minimum solar heat gain coefficient of 0.40.
Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.
a. Basis of Design Product Pilkington Building Products North America; Grey.

1) AFG Industries Inc..

2) PPG Industries, Inc..
Delete paragraph and subparagraphs below if glass lites with pyrolytic or sputter coating on second surface are not used for spandrels.

Coordinate requirements selected from paragraph and subparagraphs below with those in other paragraphs on glass products that specify lites making up insulating units.
B. Insulating-Glass Units, General:  Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, and complying with ASTM E 774 for Class CBA units and with requirements specified in this Article and in Part 2 "Insulating-Glass Units" Article.
Delete subparagraph below if no heat-treated units are required.  If retaining, indicate locations on Drawings or in other Part 2 articles where glass units are specified.
1. Provide Kind HS (heat-strengthened) float glass in place of annealed glass where needed to resist thermal stresses induced by differential shading of individual glass lites and to comply with glass design requirements specified in Part 1 "Performance Requirements" Article.
Delete first subparagraph below if locations of Kind FT float glass for safety glass applications are specified in other Part 2 articles or on Drawings.
2. Overall Unit Thickness and Thickness of Each Lite:  Dimensions indicated for insulating-glass units are nominal and the overall thicknesses of units are measured perpendicularly from outer surfaces of glass lites at unit's edge.

3. Sealing System:  Dual seal, with primary and secondary sealants as follows:
Select one sealant system from subparagraphs below or insert other combinations; coordinate with manufacturers and products selected.
a. Manufacturer's standard sealants.

b. Polyisobutylene and polysulfide.

c. Polyisobutylene and silicone.

d. Polyisobutylene and hot-melt butyl.

e. Polyisobutylene and polyurethane.

4. Spacer Specifications:  Manufacturer's standard spacer material and construction.
Delete subparagraph above or below.  Retain below if specifying a specific spacer material and construction.
5. Spacer Specifications:  Manufacturer's standard spacer material and construction complying with the following requirements:
Retain one of three subparagraphs below.  Verify availability with manufacturers of products named in Part 2 articles where insulating-glass units are specified.
a. Spacer Material:  Aluminum with mill or clear anodic finish Aluminum with powdered metal paint finish in color selected by Architect.

b. Desiccant:  Molecular sieve or silica gel, or blend of both.
Revise subparagraph above and below if specific types of desiccant and corner construction are required.
c. Corner Construction:  Manufacturer's standard corner construction.

2.2 
LAMINATED GLASS

A. 
Windborne-Debris-Impact-Resistant Laminated Glass: ASTM C 1172, and complying with testing requirements in 16 CFR 1201 for Category II materials, with "Windborne-Debris-Impact Resistance" Paragraph in "Glass Products, General" Article, and with other requirements specified. Use materials that have a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after fabrication and installation.

6. Construction: Laminate glass with one of the following to comply with interlayer manufacturer's written recommendations:

a. Polyvinyl butyral interlayer.

b. Polyvinyl butyral interlayers reinforced with polyethylene terephthalate film.

c. Ionoplast interlayer.

d. Cast-in-place and cured-transparent-resin interlayer.

e. Cast-in-place and cured-transparent-resin interlayer reinforced with polyethylene terephthalate film.

7. Interlayer Thickness: Provide thickness not less than that indicated and as needed to comply with requirements.

8. Interlayer Color: Clear unless otherwise indicated.

2.2 GLAZING GASKETS
Gaskets in paragraph below are for drive-in wedges or for use with pressurized stops.
A. Dense Compression Gaskets:  Molded or extruded gaskets of material indicated below, complying with standards referenced with name of elastomer indicated below, and of profile and hardness required to maintain watertight seal:
Select one or more materials from subparagraphs below.  Neoprene is not compatible with silicone glazing sealants.
1. Neoprene, ASTM C 864.

2. EPDM, ASTM C 864.

3. Silicone, ASTM C 1115.

4. Thermoplastic polyolefin rubber, ASTM C 1115.

5. Any material indicated above.
Gaskets in first paragraph below are for use between glass and frame (or fixed stop) where they will be compressed by inserting dense compression gaskets.
B. Soft Compression Gaskets:  Extruded or molded, closed-cell, integral-skinned gaskets of material indicated below; complying with ASTM C 509, Type II, black; and of profile and hardness required to maintain watertight seal:
Select one or more materials from subparagraphs below.  Neoprene is not compatible with silicone glazing sealants.
1. Neoprene.

2. EPDM.

3. Silicone.

4. Thermoplastic polyolefin rubber.

5. Any material indicated above.

C. Lock-Strip Gaskets:  Neoprene extrusions in size and shape indicated, fabricated into frames with molded corner units and zipper lock-strips, complying with ASTM C 542, black.
If needed, insert other types of proprietary or special gasket systems by naming manufacturer and product, if not specified in the Section where the window or glazed curtain wall system is specified.
2.3 GLAZING SEALANTS

A. General:  Provide products of type indicated, complying with the following requirements:

1. Compatibility:  Select glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

2. Suitability:  Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

3. Colors of Exposed Glazing Sealants:  As selected by Architect from manufacturer's full range.

B. Elastomeric Glazing Sealants:  Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.

1. Single-Component Neutral- and Basic-Curing Silicone Glazing Sealants GS-<#>:
Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.
a. Products:
Products listed in four subparagraphs below are Class 100/50 neutral-curing sealants except for Tremco's "Spectrem 1," which is basic curing.  Their respective manufacturers characterize them as either low-modulus or ultra low-modulus sealants.
1) Dow Corning Corporation; 790.

2) GE Silicones; SilPruf LM SCS2700.

3) Tremco; Spectrem 1 (Basic).
Products listed in first seven subparagraphs below are Class 50 neutral-curing sealants.  Their respective manufacturers classify them as low-modulus sealants.
4) GE Silicones; SilPruf SCS2000.

5) Pecora Corporation; 864.

6) Pecora Corporation; 890.

7) Polymeric Systems Inc.; PSI-641.

8) Sonneborn, Div. of ChemRex, Inc.; Omniseal.

9) Tremco; Spectrem 3.

b. Type and Grade:  S (single component) and NS (nonsag).

c. Use Related to Exposure:  NT (nontraffic).
Products listed in subparagraph and associated subparagraphs below are Class 50 neutral-curing sealants.  Their respective manufacturers characterize them as medium-modulus sealants.
2.4 MISCELLANEOUS GLAZING MATERIALS

A. General:  Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.

B. Cleaners, Primers, and Sealers:  Types recommended by sealant or gasket manufacturer.

C. Setting Blocks:  Elastomeric material with a Shore, Type A durometer hardness of 85, plus or minus 5.

D. Spacers:  Elastomeric blocks or continuous extrusions with a Shore, Type A durometer hardness required by glass manufacturer to maintain glass lites in place for installation indicated.

E. Edge Blocks:  Elastomeric material of hardness needed to limit glass lateral movement (side walking).
Delete first paragraph below if not applicable in glazing channels.
F. Cylindrical Glazing Sealant Backing:  ASTM C 1330, Type O (open-cell material), of size and density to control glazing sealant depth and otherwise produce optimum glazing sealant performance.

G. Perimeter Insulation for Fire-Resistive Glazing:  Identical to product used in test assembly to obtain fire-resistance rating.

2.5 FABRICATION OF GLAZING UNITS

A. Fabricate glazing units in sizes required to glaze openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.
Delete paragraph below if no butt-glazed lites.
B. Clean-cut or flat-grind vertical edges of butt-glazed monolithic lites in a manner that produces square edges with slight kerfs at junctions with outdoor and indoor faces.
Delete paragraph below if no exposed edges and corners.
C. Grind smooth and polish exposed glass edges and corners.
Edit the following articles to suit Project.  Retain requirements in Part 2 "Glass Products" Article that reference glass standards, but do not duplicate requirements retained in that Article.  See Editing Instruction No. 3 in the Evaluations.

Copy paragraphs and subparagraphs in articles below if needed and re-edit them to suit Project.

Insert a number in place of <#> to complete drawing designations for each glass type below.  Use these designations on Drawings to show where each glass type is required.

In articles below where options are presented to retain subparagraphs titled "Available Manufacturers," "Manufacturers," "Available Products," "Products," or "Basis-of-Design Product" for the different types of glass units, coordinate selection with Part 2 "Manufacturers" Article.  See Editing Instructions No. 4 and No. 5 in the Evaluations about use of these subparagraph titles.

See Editing Instruction No. 8 in the Evaluations about specifying proprietary tint colors for tinted float glass.
2.6 INSULATING-GLASS UNITS
This Article contains six sets of requirements for specifying insulating-glass units.  See Editing Instruction No. 6 in the Evaluations before editing.
A. Reflective and Low-E Insulating-Glass Units:

1. Overall Unit Thickness and Thickness of Each Lite:  25 and 6.0 mm.

2. Interspace Content:  Argon.

3. Outdoor Lite:  Class 2 (tinted) float glass.
Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.
a. Tint Color:  "Grey" by Pilkington.

4. Low-E Coating:  Sputtered on second.

5. Reflective Coating:  Sputtered.
Select one coating type from options in subparagraph above and one color and one location from options in two subparagraphs below.  Only silver and gold are available with pyrolytic coating.  With a low-e coating, reflective coating is limited to first (only with pyrolytic coating) or second surface.
a. Color: Grey

b. Location:  First surface.
Retain first subparagraph below only with clear float glass and only after verifying availability.
6. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine framing glazing, with Installer present, for compliance with the following:

1. Manufacturing and installation tolerances, including those for size, squareness, and offsets at corners.

2. Presence and functioning of weep system.

3. Minimum required face or edge clearances.

4. Effective sealing between joints of glass-framing members.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean glazing channels and other framing members receiving glass immediately before glazing.  Remove coatings not firmly bonded to substrates.

3.3 GLAZING, GENERAL

A. Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.

B. Glazing channel dimensions, as indicated on Drawings, provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances.  Adjust as required by Project conditions during installation.

C. Protect glass edges from damage during handling and installation.  Remove damaged glass from Project site and legally dispose of off Project site.  Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.

D. Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction sealant-substrate testing.

E. Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer.  Set blocks in thin course of compatible sealant suitable for heel bead.

F. Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

G. Provide spacers for glass lites where length plus width is larger than 50 inches as follows:

1. Locate spacers directly opposite each other on both inside and outside faces of glass.  Install correct size and spacing to preserve required face clearances, unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.

2. Provide 1/8-inch minimum bite of spacers on glass and use thickness equal to sealant width.  With glazing tape, use thickness slightly less than final compressed thickness of tape.

H. Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.

I. Set glass lites in each series with uniform pattern, draw, bow, and similar characteristics.
Delete two paragraphs below if no glazing with wedge-shaped gaskets is required for Project.
J. Where wedge-shaped gaskets are driven into one side of channel to pressurize sealant or gasket on opposite side, provide adequate anchorage so gasket cannot walk out when installation is subjected to movement.

K. Square cut wedge-shaped gaskets at corners and install gaskets in a manner recommended by gasket manufacturer to prevent corners from pulling away; seal corner joints and butt joints with sealant recommended by gasket manufacturer.

3.4 TAPE GLAZING

A. Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.

B. Install tapes continuously, but not necessarily in one continuous length.  Do not stretch tapes to make them fit opening.

C. Cover vertical framing joints by applying tapes to heads and sills first and then to jambs.  Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.

D. Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped.  Seal joints in tapes with compatible sealant approved by tape manufacturer.

E. Do not remove release paper from tape until just before each glazing unit is installed.
Delete first paragraph below if not required, or qualify by adding "where indicated" and show locations on Drawings.
F. Apply heel bead of elastomeric sealant.

G. Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.
Delete paragraph below if not applicable or revise; it assumes fixed stop is located on exterior.
H. Apply cap bead of elastomeric sealant over exposed edge of tape.

3.5 GASKET GLAZING (DRY)

A. Fabricate compression gaskets in lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.

B. Insert soft compression gasket between glass and frame or fixed stop so it is securely in place with joints miter cut and bonded together at corners.

C. Center glass lites in openings on setting blocks and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.  Compress gaskets to produce a weathertight seal without developing bending stresses in glass.  Seal gasket joints with sealant recommended by gasket manufacturer.

D. Install gaskets so they protrude past face of glazing stops.

3.6 SEALANT GLAZING (WET)

A. Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure.  Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.

B. Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.

C. Tool exposed surfaces of sealants to provide a substantial wash away from glass.

3.7 LOCK-STRIP GASKET GLAZING

A. Comply with ASTM C 716 and gasket manufacturer's written instructions.  Provide supplementary wet seal and weep system, unless otherwise indicated.

3.8 CLEANING AND PROTECTION

A. Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass.  Do not apply markers to glass surface.  Remove nonpermanent labels, and clean surfaces.

B. Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter.  If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended by glass manufacturer.

C. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains; remove as recommended in writing by glass manufacturer.

D. Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.
Retain paragraph below to suit Project.  Delete if covered in Division 01 Section "Closeout Procedures."
E. Wash glass on both exposed surfaces in each area of Project not more than four days before date scheduled for inspections that establish date of Substantial Completion.  Wash glass as recommended in writing by glass manufacturer.

END OF SECTION 088000
GLAZING
088000 - 14

