554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

info@dammonengineering.com

May 06, 2024

Mr. Joe France

Building Safety Permits

P.O. Box 828

Slidell, La. 70459

Re:

Elwin Ordoyne

E.C.O. Builders, Inc.

900 Old Spanish Trail

Slidell, La. 70458

Dear Mr. France,

Mr. Ordoyne requested that we inspect an existing 60’ x 100’ metal building package from another project to determine if it is suitable to be built on an existing concrete foundation located at the referenced location for parking and limited storage with FEMA vents. He requested that we provide you with the following.

It is our professional opinion that the existing metal building meets IBC 2021 wind loads and the existing foundation meets the requirements and is structurally sufficient for the use intended.

Sincerely,

Brian A Mistich, P.E.

Chief Engineer