Facility Planning and Control

BUILDING CODE FOR STATE OWNED BUILDINGS

November 20, 2011

NOTE:  The following applies only to state owned buildings.

Title 34

GOVERNMENT CONTRACTS, PROCUREMENT AND PROPERTY CONTROL

Part III.  Facility Planning and Control

Chapter 1.	Capital Improvement Projects

Sub Chapter A.      Procedure Manual

§131.   Louisiana Building Code

A.  RS 40:1722 establishes the Louisiana Building Code and directs that the following codes be established as the standards as minimum standards for this code.  These codes shall be established as constituting the code in the editions indicated:

1.	the Life Safety Code, Standard 101, 2009 Edition as published by the National Fire Protection Association;

2.	Part XIV (Plumbing) of the State Sanitary Code as promulgated by the state health officer acting through the Office of Public Health of the Department of Health and Hospitals;

3.	the International Building Code, 2009 Edition as published by the International Code Council, not including Chapter 1, Administration, Chapter 11, Accessibility, Chapter 27, Electrical and Chapter 29, Plumbing Systems;

4.	the International Mechanical Code, 2009 Edition as published by the International Code Council;

5.	the National Electric Code (NFPA No. 70) 2008 Edition as published by the National Fire Protection Association.

AUTHORITY NOTE:	Promulgated in accordance with R.S. 39:1410.

HISTORICAL NOTE:	Promulgated by the Office of the Governor, Division of Administration, Facility Planning and Control, LR 8:473 (September 1982), amended LR 11:849 (September 1985), LR 33:2649 (December 2007), LR 37:3260 (November 2011).