554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

April 23, 2024

Torben Knudsen

52 Mistletoe Drive

Covington, La. 70433

Construction:

Two-story, wood frame, brick veneer, wood and ceramic flooring, with a composition shingle roof on a piling/concrete foundation.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the home. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to request a structural inspection of the referenced home prior to purchasing it.

Findings:

Upon inspection, the outdoor kitchen fireplace was noted to have a horizontal crack in the mortar. This crack is at the same elevation as the flashing around the chimney.

The retaining wall in front of the home left side was noted to have water seepage at the top of the wall. The mortar has a hairline crack.

Conclusion:

It is important to note that all foundations settle.  Usually, everything settles together and the fastest rate of settlement occurs in the first year after construction.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, expansion & contraction, tree roots, improper drainage, etc.

Recommendation:

It is our opinion that the structural integrity of this home is currently sound.

It is recommended to address the items below.

Items to be addressed are as follows:

- Seal the horizontal mortar crack in the outdoor fireplace with a non-shrinking grout, to prevent insects from entering.

- Seal the hairline crack in the front retaining wall.

See attached pictures

Sincerely,

Brian Mistich, P.E.