554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Structural Inspection

May 08, 2024

Mr. Ricky Ladner

Building Official

688 Highway 90

Bay St. Louis, Ms. 39520

Ref: Raige Hebert

517 Commagere Blvd.

Bay St. Louis, MS. 39520

Construction:

One-story wood frame, on a conventional foundation with a wood framed roof.

Scope:

This inspection is limited to a visual inspection of the interior and exterior of the wood frame roof; No Inspection of the mechanical, plumbing or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers and is not an explanation of cause, effect, or engineering.

History:

Dammon Engineering was contacted to perform a structural inspection of the referenced building due to the concerns of the building official about the existing roof load.

Findings:

An overall visual inspection was conducted of the interior and exterior of the wood frame roof and found to be supported correctly.

Conclusion:

It is our opinion that the structural integrity of this wood frame roof is sound and capable of the addition of a corrugated metal roof attached with 1x4’s.

Sincerely,

Brian Mistich, P.E.