University of Southern Mississippi

College of Nursing

1 each Persona V1000 Controller

3 each Altronix AL600UPDX16 Power Supply

First Floor

Doors 101A and 126

1 each Persona V100 Door Control

2 each W644 Swipe Readers

1 each iDec PS 5R AO5 Reader Power Supply

2 each Altronix RBSNP Relay Module

2 each Securitron DPS Door Position Switch

2 each Securitron XMS Motion Sensor

Door 102B and 143

1 each Persona V100 Door Control

2 each W644 Swipe Readers

1 each iDec PS 5R AO5 Reader Power Supply

2 each Securitron DPS Door Position Switch

2 each Securitron XMS Motion Sensor

Door 117 and 131A

1 each Persona V100 Door Control

2 each W644 Swipe Readers

1 each iDec PS 5R AO5 Reader Power Supply

2 each Altronix RBSNP Relay Module

2 each Securitron DPS Door Position Switch

2 each Securitron XMS Motion Sensor

Door 107B and 109A

1 each Persona V100 Door Control

2 each W644 Swipe Readers

1 each iDec PS 5R AO5 Reader Power Supply

2 each Securitron DPS Door Position Switch

2 each Securitron XMS Motion Sensor

Door 102B and 143

1 each Persona V100 Door Control

2 each W644 Swipe Readers

1 each iDec PS 5R AO5 Reader Power Supply

2 each Securitron DPS Door Position Switch

2 each Securitron XMS Motion Sensor

Door 121A and 121B

Door 122A and 122B

Door 124A and 124B

3 each Persona V100 Door Control

6 each W644 Swipe Readers

3 each iDec PS 5R AO5 Reader Power Supply

Door 130 and 134

1 each Persona V100 Door Control

2 each W644 Swipe Readers

1 each iDec PS 5R AO5 Reader Power Supply

Door 140A and 140B and 140C

2 each Persona V100 Door Control

3 each W644 Swipe Readers

2 each iDec PS 5R AO5 Reader Power Supply

Door 144A and 144B

Door 145A and 145B

Door 146A and 146B

Door 147A and 147B

4 each Persona V100 Door Control

8 each W644 Swipe Readers

4 each iDec PS 5R AO5 Reader Power Supply

Second Floor

Door 224, 225, 228, 240, 241, 242, 243, 245, 246,247, 248A, 267, 276A, 276B, 281, 286

9 each Persona V100 Door Control

16 each W644 Swipe Readers

9 each iDec PS 5R AO5 Reader Power Supply

Third Floor

Doors 302, 321, 333, 336, 336B, 343, 344, 344B, 345, 351C, 351D, 353A, 368, 383

8 each Persona V100 Door Control

14 each W644 Swipe Readers

8 each iDec PS 5R AO5 Reader Power Supply