554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

June 26, 2025

Jefferson Parish

Department of Building Permits

Mechanical Section

West Bank

1855 Ames Blvd, Suite A

Harvey, La. 70072

Chris Lacoste

Ref: Permit Application #25-304186 Mixed Use Development

4648 S I-10 Service Rd W, Metairie, La. 70001

Dear Mr. Lacoste

We have received your letter dated May 12, 2025 and have addressed the IMC 2021 and IECC2021 codes.

We have updated the drawing with the fresh air requirement calculations utilizing the exterior lobby doors to complete this code.

We have also researched the ductwork requirements and noted it on the drawing.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187