To: City Of Layfette

The contractor asked us to verify the issues for approval.

Attic scuttle:

The attic scuttle will be installed on the 3rd floor ceiling in the storage room,

Per the SBC framing standards. It shall have a 1hr-fire rating.

Smoke Wall Access:

The contractor shall install two 2x5-smoke door access. This will consist of a 5/8” fire rated piece of sheet rock and installed per the SBC framing standards.

Floor Joist:

This penetration doesn’t appear to have any structural interference with the truss system. However as a precaution the two floor joist will have a piece of ½” plywood attached to the side of it 3’ long.

Laundry Chute:

The laundry chute that is being installed will cross two floor joist. These will be cut and reattached with joist hangers and joist.

