March 12, 2002

Mrs. Rose S. Linzell

State of Louisiana

Department of Health and Hospitals

520 Old Spanish Trail

Suite 200

Slidell, LA. 70458

RE: Camellia Gardens

Dear Mrs. Linzell

I have updated the drawings to reflect the changes that were agreed upon at the job site meeting on 03/06/02. 

Added hot and cold-water faucets at the trash Dumpster.

Added a partition to the two second floor handicap laundry rooms to separate the clothes and also added a handicap hand sink.

Added a partition in between the hand sink and hot plates.

The 3-compartment sink does have a drain board on each side.

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

VP

