June 21, 2002

Mr.Richard Bell 

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens

        P0220398

        Bldg.#1 Classification

Dear Mr. Bell

The City inspector for the City of Slidell is questioning the classification for Bldg.#1. We originally submitted it to you as an activity room. After your review it, was classified as an Assembly room. And it had to meet certain requirements of section 8.2.5.5 of the NFPA 101. Which we have made design changes to meet these requirements. The local Fire Marshal has visually inspected the bldg. and verified these requirements. But the City inspector wants to classify it as an atrium. If it is an atrium we will have to install a smoke ventilation system. 

We are asking you too re-review the attached dwgs and determine if we are

using the correct classification.

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

Vice President/Project Manager

