January 18, 2002

Mr. Floyd Crawl

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens

        P0233508

Dear Mr. Carwile

This letter is to clarify the information from the Fire Suppression System DWG’s submitted to you for approval dated December 25, 2000.

The dwg,s that you received (Bldg. #2, #3 & #6) reflect three of the six bldgs for approval. The other three (Bldg. #1, #4 & #5) we will be submitting at a latter date when Coastal Fire Protection have completed the design. Bldg. #1 & Bldg. #5 have Horizontal piping for the sprinklers in the attic, These will be protected (Heated) by Miracle Vent. The Manufacture has located on the DWG’s were they need to be installed and the proper amount. All the riser closets will be heated with electric pump house heaters.

Please call me with any questions that you may have.

Thank you,

